## README
These templates were generated using the FAIR eDNA checklist version 1.0.3
Date/Time generated;
2025-09-04T01:29:05.714140
Note: This template includes all data components and terms from the FAIR eDNA checklist, encompassing sections for both targeted assays and metabarcoding assay types.
Requirement levels;
M = Mandatory
HR = Highly recommended
R = Recommended
O = Optional

## projectMetadata
requirement_level_code | section | term_name | project_level
R | Data management | accessRights
R | Library preparation sequencing | adapter_forward
R | Library preparation sequencing | adapter_reverse
M | Targeted assay detection | amp_vis_method
HR | PCR | ampliconSize
R | PCR | amplificationReactionVolume
HR | PCR | annealingTemp
M | PCR | assay_name
M | Project | assay_type
R | PCR | assay_validation
O | Data management | associated_resource
O | Targeted assay detection | automaticBaselineValue
O | Targeted assay detection | automaticThresholdQuantificationCycle
HR | Library preparation sequencing | barcoding_pcr_appr
O | Targeted assay detection | baselineValue
R | Data management | bibliographicCitation
O | Bioinformatics | bioinfo_method_additional
R | Sample collection | biological_rep
O | PCR | block_ref
O | PCR | block_seq
O | PCR | block_taxa
M | Data management | checkls_ver
R | Library preparation sequencing | checksum_method
R | Bioinformatics | chimera_check_method
R | Bioinformatics | chimera_check_param
R | Data management | code_repo
HR | PCR | commercial_mm
HR | PCR | custom_mm
O | Data management | dataGeneralizations
R | Bioinformatics | demux_max_mismatch
R | Bioinformatics | demux_tool
M | Targeted assay detection | detection_criteria
R | Bioinformatics | error_rate_cutoff
R | Bioinformatics | error_rate_tool
R | Bioinformatics | error_rate_type
O | Data management | informationWithheld
O | PCR | inhibition_check
O | PCR | inhibition_check_0_1
R | Project | institution
R | Project | institutionID
HR | Library preparation sequencing | instrument
R | Library preparation sequencing | lib_layout
HR | Library preparation sequencing | lib_screen
R | Data management | license
R | Targeted assay detection | lod_method
R | Targeted assay detection | loq_method
R | Bioinformatics | merge_min_overlap
R | Bioinformatics | merge_tool
R | Bioinformatics | min_len_cutoff
R | Bioinformatics | min_len_tool
R | Bioinformatics | min_reads_cutoff
R | Bioinformatics | min_reads_cutoff_unit
R | Bioinformatics | min_reads_tool
R | Data management | mod_date
HR | Project | neg_cont_0_1
R | PCR | nucl_acid_amp
R | Bioinformatics | otu_clust_cutoff
R | Bioinformatics | otu_clust_tool
HR | Bioinformatics | otu_db
O | Bioinformatics | otu_db_custom
R | Bioinformatics | otu_final_description
R | Bioinformatics | otu_raw_description
HR | Bioinformatics | otu_seq_comp_appr
O | Project | parent_project_id
O | Library preparation sequencing | pcr2_amplificationReactionVolume
O | Library preparation sequencing | pcr2_analysis_software
R | Library preparation sequencing | pcr2_annealingTemp
R | Library preparation sequencing | pcr2_commercial_mm
R | Library preparation sequencing | pcr2_cond
R | Library preparation sequencing | pcr2_custom_mm
R | Library preparation sequencing | pcr2_cycles
R | Library preparation sequencing | pcr2_dna_vol
O | Library preparation sequencing | pcr2_method_additional
R | Library preparation sequencing | pcr2_plate_id
O | Library preparation sequencing | pcr2_thermocycler
M | PCR | pcr_0_1
O | PCR | pcr_analysis_software
M | Targeted assay detection | pcr_assay_lod
R | Targeted assay detection | pcr_assay_lod_LL
R | Targeted assay detection | pcr_assay_lod_UL
R | Targeted assay detection | pcr_assay_lod_techreps
M | Targeted assay detection | pcr_assay_lod_unit
M | Targeted assay detection | pcr_assay_loq
R | Targeted assay detection | pcr_assay_loq_LL
R | Targeted assay detection | pcr_assay_loq_UL
R | Targeted assay detection | pcr_assay_loq_techreps
M | Targeted assay detection | pcr_assay_loq_unit
HR | PCR | pcr_cond
HR | PCR | pcr_cycles
HR | PCR | pcr_dna_vol
O | PCR | pcr_method_additional
R | PCR | pcr_primer_conc_forward
R | PCR | pcr_primer_conc_reverse
M | PCR | pcr_primer_forward
R | PCR | pcr_primer_name_forward
R | PCR | pcr_primer_name_reverse
HR | PCR | pcr_primer_reference_forward
HR | PCR | pcr_primer_reference_reverse
M | PCR | pcr_primer_reverse
R | PCR | pcr_primer_vol_forward
R | PCR | pcr_primer_vol_reverse
HR | PCR | pcr_rep
HR | Library preparation sequencing | platform
HR | Project | pos_cont_0_1
HR | PCR | probeQuencher
HR | PCR | probeReporter
HR | PCR | probe_conc
HR | PCR | probe_ref
HR | PCR | probe_seq
M | Project | project_contact
M | Project | project_id
R | Project | project_name
M | Project | recordedBy
R | Project | recordedByID
R | Data management | rightsHolder
HR | Bioinformatics | screen_contam_method
R | Bioinformatics | screen_geograph_method
R | Bioinformatics | screen_nontarget_method
R | Bioinformatics | screen_other
HR | Library preparation sequencing | seq_kit
O | Library preparation sequencing | seq_method_additional
O | Library preparation sequencing | sequencing_location
R | Bioinformatics | sop_bioinformatics
R | Targeted assay detection | std_seq
O | Targeted assay detection | std_source
R | Targeted assay detection | std_type
HR | Project | sterilise_method
O | Project | study_factor
M | PCR | targetTaxonomicAssay
R | PCR | targetTaxonomicScope
HR | PCR | target_gene
O | PCR | target_subfragment
O | Targeted assay detection | targeted_detection_method_additional
HR | Bioinformatics | tax_assign_cat
R | Bioinformatics | tax_class_collapse
R | Bioinformatics | tax_class_id_cutoff
R | Bioinformatics | tax_class_other
R | Bioinformatics | tax_class_query_cutoff
O | PCR | thermocycler
M | Targeted assay detection | thresholdQuantificationCycle
R | Bioinformatics | trim_method
R | Bioinformatics | trim_param
Note on C2: Information about who can access the resource or an indication of its security status. Requirement: R Field type: string
Note on C3: Forward sequencing adapter. The sequence should be reported in uppercase letters Requirement: R Field type: string
Note on C4: Reverse sequencing adapter. The sequence should be reported in uppercase letters Requirement: R Field type: string
Note on C5: Amplicon visualisation method (i.e., qPCR, dPCR, gel electrophoresis, PCR capillary electrophoresis (PCR-CE), Loop-mediated isothermal amplification (LAMP)) to determine the detection of a targeted taxon Requirement: M Field type: amp_vis_method_enum
Note on C6: The length of the amplicon in basepairs EXCLUDING the primers, adapters and MIDs. A range can be entered separated by a hyphen"-" (i.e. 140-160). If using Excel, format the cell as text to prevent it from being auto-formatted as a date. Unit = basepairs Requirement: HR Field type: string
Note on C7: The total PCR reaction volume. Unit = µL Requirement: R Field type: float
Note on C8: The reaction temperature during the annealing phase of PCR. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Unit = degree Celsius Requirement: HR Field type: float
Note on C9: A brief, concise identifier for assay with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'assay_name'. Requirement: M Field type: string
Note on C10: The method used in the eDNA study to detect taxon/taxa of interest in environmental sample. A targeted eDNA assay is designed to detect the presence of a specific species or a small subset of taxa (such as a genus or family) using techniques like quantitative PCR (qPCR). This contrasts with a metabarcoding eDNA assay which aims to characterize the composition of broader taxonomic communities, often encompassing multiple phyletic groups, by utilising high-throughput sequencing such as metabarcoding Requirement: M Field type: assay_type_enum
Note on C11: How was the assay validated for specificity? e.g., in-silico, in-vitro, in-situ validations, sanger sequencing, repeat analysis with alternate assay, intra/inter species tests Requirement: R Field type: string
Note on C12: A related resource that is referenced, cited, or otherwise associated to the sequence. i.e., links to a project website, submitted raw sequence data and environmental metadata. Requirement: O Field type: string
Note on C13: Whether the baseline value was set by the instrument (1) or manually (0). Requirement: O Field type: string
Note on C14: Whether the threshold was set by the instrument (1) or manually (0). Requirement: O Field type: string
Note on C15: PCR approach for metabarcoding Requirement: HR Field type: barcoding_pcr_appr_enum
Note on C16: The number of cycles when fluorescence signal from the target amplification is below background fluorescence not originated from the real target amplification. Unit = cycle Requirement: O Field type: string
Note on C17: A bibliographic reference for the resource. Requirement: R Field type: string
Note on C18: Additional information on bioinformatics, that has not been shared in the given record. Requirement: O Field type: string
Note on C19: The number of biological replicates collected at each sampling point and/or for each experimental treatment in the study. Requirement: R Field type: string
Note on C20: Reference of a blocking primer. Enter "custom" if it was developed during the current project Requirement: O Field type: string
Note on C21: Blocking primer sequence in the 5' to 3' direction Requirement: O Field type: string
Note on C22: Taxonomic name(s) of the organism(s) targeted by a blocking primer to prevent their DNA amplification during PCR, enabling the preferential amplification of other taxa. Requirement: O Field type: string
Note on C23: The version number of the FAIR eDNA (FAIRe) metadata checklist used to format the data Requirement: M Field type: float
Note on C24: The specific algorithm or technique used to compute the checksum (checksum_filename, checksum_filename2) for verifying data integrity. Examples include MD5, SHA-256, and CRC-32. Requirement: R Field type: checksum_method_enum
Note on C25: Description of chimera check approaches (i.e. denovo, reference-based), including software and the version used Requirement: R Field type: string
Note on C26: Parameters used to filter chimera sequences if note default Requirement: R Field type: string
Note on C27: Link to public repository where analysis code is archived Requirement: R Field type: string
Note on C28: Name, brand, and manufacture of commercial, pre-made master mix (if commercial master mix was used) Requirement: HR Field type: string
Note on C29: composition of custom master mix, including the names, volumes and concentrations of additives (i.e., salts, buffers, enzyme and other components) (if custom master mix was used) Requirement: HR Field type: string
Note on C30: Actions taken to make the shared data (i.e. location, date) less specific or complete than in its original form. Suggests that alternative data of higher quality may be available on request. Note this is not related to genetic generalisation within bioinformatic workflows (i.e., OTU clustering). Requirement: O Field type: string
Note on C31: Maximum mismatch allowed at the index bases for demultiplexing. Unit = base pair Requirement: R Field type: string
Note on C32: Software and the version used to demultiplex sequence reads Requirement: R Field type: string
Note on C33: Criteria to determine positive detection. For example, a certain number of positive amplifications per sample, sanger sequencing of amplicons Requirement: M Field type: string
Note on C34: error rate threshold Requirement: R Field type: float
Note on C35: Software to remove reads above error rate threshold Requirement: R Field type: string
Note on C36: The type/unit of error rate for the error rate threshold Requirement: R Field type: error_rate_type_enum
Note on C37: Additional information that exists, but that has not been shared in the given record. Requirement: O Field type: string
Note on C38: Description of method applied to detect inhibition and any adjustments made to improve PCR performance, such as sample dilution or the use of inhibitor-tolerant reagents. Requirement: O Field type: string
Note on C39: Was the inhibition checked? Yes = 1, No = 0 Requirement: O Field type: string
Note on C40: An institution having custody of the object(s) or information referred to in the record. Requirement: R Field type: string
Note on C41: An identifier for the institution having custody of the object(s) or information referred to in the record. This identifier should point to a persistent, resolvable identifier, such as a Research Organization Registry (ROR) ID or ISNI (International Standard Name Identifier). Requirement: R Field type: string
Note on C42: Sequencing instrument (manufacturer and model) used. Where possible the term should be taken from the OBI list of DNA sequencers (https://ontobee.org/ontology/OBI?iri=http://purl.obolibrary.org/obo/OBI_0002750) Requirement: HR Field type: string
Note on C43: Specify whether to expect single, paired, or other configuration of reads Requirement: R Field type: lib_layout_enum
Note on C44: Specific enrichment or screening methods applied before and/or after creating libraries Requirement: HR Field type: string
Note on C45: A legal document giving official permission to do something with the resource. Requirement: R Field type: string
Note on C46: Method used for determining LOD e.g., DOI of a published procedure Requirement: R Field type: string
Note on C47: Method used for determining LOQ e.g., DOI of a published procedure Requirement: R Field type: string
Note on C48: Minimum overlaps required to merge paired end reads. Unit = base pair Requirement: R Field type: string
Note on C49: Software and the version to merge paired end reads Requirement: R Field type: string
Note on C50: Minimum length threshold. Unit = base pair Requirement: R Field type: string
Note on C51: Software and the version to remove reads shorter than minimum length threshold Requirement: R Field type: string
Note on C52: minimum read counts thresholds. e.g., 10 reads, 5% relative read abundance, noise (e.g., (relative) read counts) detected in blanks. Answer either numeric value with the unit specified under the terms min_reads_cutoff_unit, "noise detected in blanks", or "other: FREE TEXT DESCRIPTION". Requirement: R Field type: string
Note on C53: The unit of the min_reads_cutoff. i.e. reads, % relative read abundance Requirement: R Field type: min_reads_cutoff_unit_enum
Note on C54: Software and the version to remove reads below minimum read threshold Requirement: R Field type: string
Note on C55: The last date on which the database information was modified, following the ISO 8601 format of yyyy-mm-dd. In case no exact time or date is available, the date/time can be right truncated i.e. all of these are valid times: 2008-01-23T19:23:10+00:00; 2008-01-23T19:23:10Z; 2008-01-23; 2008-01; 2008; Except: 2008-01; 2008 all are ISO8601 compliant. Requirement: R Field type: string
Note on C56: Were negative controls applied during the project? Yes = 1, No = 0. For further details, record the types of negative controls under the term neg_cont_type in sampleMetadata Requirement: HR Field type: string
Note on C57: A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the nucleic acid amplification Requirement: R Field type: string
Note on C58: The percentage similarity threshold used for OTU/ASV clustering. For ASV clustering, the cutoff is typically 100% similarity. Unit = % Requirement: R Field type: float
Note on C59: Software and the version used for OTU/ASV clustering Requirement: R Field type: string
Note on C60: List of reference database(s) (i.e. sequences not generated as part of the current study) along with version number, that were used to assign taxonomy to OTUs or ASVs. If custom database was used, enter 'custom' here, and provide the information of the database under the term otu_db_custom Requirement: HR Field type: string
Note on C61: Description of custom reference database(s) (i.e. coverage of taxa, region) if applied to assign taxonomy to OTUs or ASVs Requirement: O Field type: string
Note on C62: A description of the data curation and processing steps applied to the final OTU/ASV table Requirement: R Field type: string
Note on C63: A description of the data curation and processing steps applied to the raw OTU/ASV table Requirement: R Field type: string
Note on C64: Alignment tool/software used for taxonomic assignment Requirement: HR Field type: string
Note on C65: An identifier or name of the overarching (parent) project that encompasses and organizes multiple related sub-projects, each identified by a unique project_id Requirement: O Field type: string
Note on C66: The total PCR reaction volume in the second step PCR. Unit = µL Requirement: O Field type: float
Note on C67: (If bacroding_pcr_appr = "two-step PCR") The program used to analyse the PCR runs in the second step PCR Requirement: O Field type: string
Note on C68: (If bacroding_pcr_appr = "two-step PCR") The reaction temperature during the annealing phase of the second step PCR. Unit = degree Celsius Requirement: R Field type: float
Note on C69: (If bacroding_pcr_appr = "two-step PCR") Name, brand, and manufacture of commercial, pre-made master mix in the second step PCR (if commercial master mix was used) Requirement: R Field type: string
Note on C70: (If bacroding_pcr_appr = "two-step PCR") Description of reaction conditions and components of in the second PCR. The recommended format is ´initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles´, where possible. Requirement: R Field type: string
Note on C71: (If bacroding_pcr_appr = "two-step PCR") composition of custom master mix, including the names, volumes and concentrations of additives (i.e., salts, buffers, enzyme and other components) in the second step PCR (if custom master mix was used) Requirement: R Field type: string
Note on C72: (If bacroding_pcr_appr = "two-step PCR") Number of PCR cycles in the second step PCR. Unit = cycles Requirement: R Field type: string
Note on C73: (If bacroding_pcr_appr = "two-step PCR") Volume of DNA added in each reaction in the second step PCR. Unit = µL Requirement: R Field type: float
Note on C74: (If bacroding_pcr_appr = "two-step PCR") Additional information on PCR or PCR-free method, that has not been shared in the given record in the second step PCR Requirement: O Field type: string
Note on C75: (If bacroding_pcr_appr = "two-step PCR") Plate ID in the second step PCR Requirement: R Field type: string
Note on C76: (If bacroding_pcr_appr = "two-step PCR") The manufacturer and model of a thermocycler used in the second step PCR Requirement: O Field type: string
Note on C77: Was PCR performed in the study? Yes = 1, No (pcr-free approaches including shotgun metagenomics, Nanopore) = 0 Requirement: M Field type: string
Note on C78: The program used to analyse the PCR runs. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Requirement: O Field type: string
Note on C79: Assay's limit of detection (LOD) (the lowest amount of target taxon DNA that can be detected with a defined level of confidence). Requirement: M Field type: float
Note on C80: Lower 95% confidence limit for LOD for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_lod_unit Requirement: R Field type: float
Note on C81: Upper 95% confidence limit for LOD for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_lod_unit Requirement: R Field type: float
Note on C82: The number of technical replicates that the LOD is applied to. See DOI: 10.1002/edn3.220 Requirement: R Field type: string
Note on C83: Unit for pcr_assay_lod Requirement: M Field type: pcr_assay_lod_unit_enum
Note on C84: Assay's limit of quantification (LOQ) (the lowest amount of target taxon DNA that can be quantitatively determined with a stated precision under the stated experimental conditions). Requirement: M Field type: float
Note on C85: Lower 95% confidence limit for LOQ for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_loq_unit Requirement: R Field type: float
Note on C86: Upper 95% confidence limit for LOQ for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_loq_unit Requirement: R Field type: float
Note on C87: The number of technical replicates that the LOQ is applied to. See DOI: 10.1002/edn3.220 Requirement: R Field type: string
Note on C88: unit for pcr_assay_loq Requirement: M Field type: pcr_assay_loq_unit_enum
Note on C89: Description of reaction conditions and components of PCR. The recommended format is ´initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles´, where possible. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_cond in the library preparation/sequencing section. Requirement: HR Field type: string
Note on C90: Number of PCR cycles. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Unit = cycles Requirement: HR Field type: string
Note on C91: Volume of DNA added in each PCR reaction. Unit = µL Requirement: HR Field type: float
Note on C92: Additional information on PCR or PCR-free method, that has not been shared in the given record (i.e. multiplexing, hybridisation, CRISPR-Cas). If two-step PCR was applied, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Requirement: O Field type: string
Note on C93: The stock concentration of the forward PCR primer (pcr_primer_forward). This refers specifically to the concentration of the primer stock solution, not the final concentration in the PCR reaction. For example, using 1 µL of a 5 µM (stock concentration) primer in a 25 µL reaction results in a final concentration of 0.2 µM. Hence the entry for this term would be 5. Unit = µM Requirement: R Field type: float
Note on C94: The stock concentration of the reverse PCR primer (pcr_primer_reverse). This refers specifically to the concentration of the primer stock solution, not the final concentration in the PCR reaction. For example, using 1 µL of a 5 µM (stock concentration) primer in a 25 µL reaction results in a final concentration of 0.2 µM. Hence the entry for this term would be 5. Unit = µM Requirement: R Field type: float
Note on C95: Forward PCR primer (5' - 3') that were used to amplify the sequence of the targeted gene. The primer sequence should NOT contain MIDs and adapter sequences, and should be reported in uppercase letters. If multiple forward primers are present in a single PCR reaction, either report them separately in separate submissions (with separate OTU tables for each primer set), or list the primers here separated by pipe ( ¦ ) and provide one OTU table resulting from all the primers applied here. The latter is recommended only when the multiple primers target the same gene region and thus a single OTU table was generated from the multiplexed PCR. This term is required except for PCR free methods. Requirement: M Field type: string
Note on C96: Name of the pcr_primer_forward. If multiple primers are listed in pcr_primer_forward, list the names respectively, separated by pipe ( ¦ ). Requirement: R Field type: string
Note on C97: Name of the pcr_primer_reverse. If multiple primers are listed in pcr_primer_reverse, list the names respectively, separated by pipe ( ¦ ). Requirement: R Field type: string
Note on C98: Reference (i.e. DOI) of the pcr_primer_forward. If multiple primers are listed in pcr_primer_forward, list the references respectively, separated by pipe ( ¦ ). Requirement: HR Field type: string
Note on C99: Reference (i.e. DOI) of the pcr_primer_reverse. If multiple primers are listed in pcr_primer_reverse, list the references respectively, separated by pipe ( ¦ ). Requirement: HR Field type: string
Note on C100: Reverse PCR primer (5' - 3') that were used to amplify the sequence of the targeted gene. The primer sequence should NOT contain MIDs and adapter sequences, and should be reported in uppercase letters. If multiple reverse primers are present in a single PCR reaction, either report them separately in separate submissions (with separate OTU tables for each primer set), or list the primers here separated by pipe ( ¦ ) and provide one OTU table resulting from all the primers applied here. The latter is recommended only when the multiple primers target the same gene region and thus a single OTU table was generated from the multiplexed PCR. This term is required except for PCR free methods. Requirement: M Field type: string
Note on C101: Volume of pcr_primer_forward per reaction. Unit = µL Requirement: R Field type: float
Note on C102: Volume of pcr_primer_reverse per reaction. Unit = µL Requirement: R Field type: float
Note on C103: The number of PCR technical replicates. For metabarcoding, each replicate should employ an identical MID. Requirement: HR Field type: string
Note on C104: General sequencing platform used. Requirement: HR Field type: platform_enum
Note on C105: Were positive controls applied during the project? Yes = 1, No = 0. For further details, record the types of positive controls under the term pos_cont_type in sampleMetadata Requirement: HR Field type: string
Note on C106: Type of quencher used. The quencher molecule quenches the fluorescence emitted by the fluorophore when excited by the cycler’s light source As long as fluorophore and the quencher are in proximity, quenching inhibits any fluorescence signals. Requirement: HR Field type: probeQuencher_enum
Note on C107: Type of fluorophore (reporter) used. Probe anneals within amplified target DNA. Polymerase activity degrades the probe that has annealed to the template, and the probe releases the fluorophore from it and breaks the proximity to the quencher, thus allowing fluorescence of the fluorophore. Requirement: HR Field type: string
Note on C108: The stock concentration of the probe if applicable. This refers specifically to the concentration of the probe stock solution, not the final concentration in the PCR reaction. For example, using 1 µL of a 5 µM (stock concentration) probe in a 25 µL reaction results in a final concentration of 0.2 µM. Hence the entry for this term would be 5. Unit = µM Requirement: HR Field type: float
Note on C109: Reference (i.e. DOI) of the probe_seq Requirement: HR Field type: string
Note on C110: If applicable, probe sequence in the 5' to 3' direction Requirement: HR Field type: string
Note on C111: A contact person and their contact (i.e., email address) for data enquiry Requirement: M Field type: string
Note on C112: A brief, concise project identifier with no spaces or special characters, ensuring machine readability. This ID will be used in data file names as 'project_id'. Requirement: M Field type: string
Note on C113: Name of the project within which the sequencing was organized Requirement: R Field type: string
Note on C114: A list (concatenated and separated) of names of people responsible for the submitted dataset Requirement: M Field type: string
Note on C115: A list (concatenated and separated) of the globally unique identifier for the people responsible for the submitted dataset Requirement: R Field type: string
Note on C116: A person or organization owning or managing rights over the resource. Requirement: R Field type: string
Note on C117: How were contaminations screened and applied in data curation/analyses/interpretation? Requirement: HR Field type: string
Note on C118: How were species distribution information screened and applied? Requirement: R Field type: string
Note on C119: How were non-target species screened and applied? Requirement: R Field type: string
Note on C120: Description of other screening criteria and approaches Requirement: R Field type: string
Note on C121: The name of sequencing kit Requirement: HR Field type: string
Note on C122: Additional information on library preparation and sequencing method, that has not been shared in the given record. Requirement: O Field type: string
Note on C123: The location the sequencing run was performed. Indicate the name of the lab or core facility where samples were sequenced Requirement: O Field type: string
Note on C124: Standard operating procedures, references, link to scripts, that were used in quality filtering, assembly and/or annotation of genomes, metagenomes or environmental sequences Requirement: R Field type: string
Note on C125: DNA sequences of standard Requirement: R Field type: string
Note on C126: The source of standard used for standard curves Requirement: O Field type: string
Note on C127: The type of standard used for standard curves Requirement: R Field type: std_type_enum
Note on C128: the protocols to minimise contaminations in the field and/or laboratory Requirement: HR Field type: string
Note on C129: The variable(s) examined in the study, including those of direct interests to address study aims and covariates. Requirement: O Field type: string
Note on C130: Taxa or species name targeted by the primers, probes, and/or other approaches applied in the PCR. Requirement: M Field type: string
Note on C131: The taxonomic group(s) targeted in the study. This can differ from the targetTaxonomicAssay. For example, the targetTaxonomicAssay may be Chordata while the targetTaxonomicScope is Chondrichthyes (bony fish, sharks and rays). Requirement: R Field type: string
Note on C132: Targeted gene or locus name for marker gene studies Requirement: HR Field type: target_gene_enum
Note on C133: Name of subfragment of a gene or locus. Important to e.g. identify special regions on marker genes like V6 on 16S rRNA. Requirement: O Field type: string
Note on C134: Additional information on Targeted assay detection method, that has not been shared in the given record. Requirement: O Field type: string
Note on C135: High-level category of taxonomic assignment approach. Examples using sequence similarity: BLAST/MegaBLAST, USEARCH/VSEARCH. Examples using sequence composition: naive Bayes classifier, CLARK, Kraken. Examples using phylogeny: SEPP, EPA-ng, pplacer. Examples using probabilistic: PROTAX, TIPP. Requirement: HR Field type: tax_assign_cat_enum
Note on C136: How was the taxa collapsed to higher taxonomic levels? i.e. lowest common ancestor Requirement: R Field type: string
Note on C137: Minimum percent identity for taxonomic assignment. Unit = % Requirement: R Field type: float
Note on C138: Additional information on parameters and cutoffs used for taxonomic assignment, that have not been shared in the given record. Requirement: R Field type: string
Note on C139: Minimum percent query coverage for taxonomic assignment. Unit = % Requirement: R Field type: float
Note on C140: The manufacturer and model of a thermocycler used Requirement: O Field type: string
Note on C141: Threshold for change in fluorescence signal between cycles. No unit. Requirement: M Field type: float
Note on C142: Method for trimming primer and/or adapter sequences, including version and parameters Requirement: R Field type: string
Note on C143: Parameters and cutoffs used to trim if not default Requirement: R Field type: string

## Drop-down values
term_name | term_type | n_options | vocab_options | vocab1 | vocab2 | vocab3 | vocab4 | vocab5 | vocab6 | vocab7 | vocab8 | vocab9 | vocab10 | vocab11 | vocab12 | vocab13 | vocab14 | vocab15 | vocab16 | vocab17 | vocab18 | vocab19 | vocab20 | vocab21 | vocab22 | vocab23 | vocab24 | vocab25 | vocab26 | vocab27 | vocab28 | vocab29
amp_vis_method | controlled vocabulary | 6 | qPCR¦dPCR¦gel electrophoresis¦CE-PCR¦LAMP¦other: | vocab1: qPCR; vocab2: dPCR; vocab3: gel electrophoresis; vocab4: CE-PCR; vocab5: LAMP; vocab6: other:
assay_type | controlled vocabulary | 3 | targeted¦metabarcoding¦other: | vocab1: targeted; vocab2: metabarcoding; vocab3: other:
automaticBaselineValue | Boolean | 0
automaticThresholdQuantificationCycle | Boolean | 0
barcoding_pcr_appr | controlled vocabulary | 4 | one-step PCR¦two-step PCR¦ligation-based¦other: | vocab1: one-step PCR; vocab2: two-step PCR; vocab3: ligation-based; vocab4: other:
checksum_method | controlled vocabulary | 4 | MD5¦SHA-256¦CRC-32¦other: | vocab1: MD5; vocab2: SHA-256; vocab3: CRC-32; vocab4: other:
concentration_unit | controlled vocabulary | 3 | ng/µl¦copies/µl¦other: | vocab1: ng/µl; vocab2: copies/µl; vocab3: other:
detected_notDetected | Boolean | 0
diss_inorg_carb_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
diss_inorg_nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
diss_org_carb_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
diss_org_nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
diss_oxygen_unit | controlled vocabulary | 13 | mg/L¦µg/L¦µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mL/L¦mmol/kg¦parts per million¦other: | vocab1: mg/L; vocab2: µg/L; vocab3: µM; vocab4: mol/m3; vocab5: mmol/m3; vocab6: µmol/m3; vocab7: mol/L; vocab8: mmol/L; vocab9: µmol/L; vocab10: mL/L; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
dna_cleanup_0_1 | Boolean | 0
error_rate_type | controlled vocabulary | 3 | Phred score¦expected error rate¦other: | vocab1: Phred score; vocab2: expected error rate; vocab3: other:
estimatedNumberOfCopies_error_type | controlled vocabulary | 4 | standard error¦standard deviation¦95% confidence interval¦other: | vocab1: standard error; vocab2: standard deviation; vocab3: 95% confidence interval; vocab4: other:
estimatedNumberOfCopies_method | controlled vocabulary | 5 | Ct/Cq with standard curve¦Ct/Cq with standard bionomial data¦direct output from the PCR instrument used¦gel fluorescence intensities¦other: | vocab1: Ct/Cq with standard curve; vocab2: Ct/Cq with standard bionomial data; vocab3: direct output from the PCR instrument used; vocab4: gel fluorescence intensities; vocab5: other:
estimatedNumberOfCopies_unit | controlled vocabulary | 7 | copies/reaction¦copies/µL of DNA extract¦copies/µL of reaction¦ng/reaction¦ng/µL of DNA extract¦ng/µL of reaction¦other: | vocab1: copies/reaction; vocab2: copies/µL of DNA extract; vocab3: copies/µL of reaction; vocab4: ng/reaction; vocab5: ng/µL of DNA extract; vocab6: ng/µL of reaction; vocab7: other:
filter_material | controlled vocabulary | 8 | cellulose¦cellulose ester¦glass fiber¦thermoplastic membrane¦track etched polycarbonate¦nylon¦polyethersulfone¦other: | vocab1: cellulose; vocab2: cellulose ester; vocab3: glass fiber; vocab4: thermoplastic membrane; vocab5: track etched polycarbonate; vocab6: nylon; vocab7: polyethersulfone; vocab8: other:
filter_passive_active_0_1 | Boolean | 0
habitat_natural_artificial_0_1 | Boolean | 0
host_height_unit | controlled vocabulary | 4 | mm¦cm¦m¦other: | vocab1: mm; vocab2: cm; vocab3: m; vocab4: other:
host_length_unit | controlled vocabulary | 4 | mm¦cm¦m¦other: | vocab1: mm; vocab2: cm; vocab3: m; vocab4: other:
host_tot_mass_unit | controlled vocabulary | 4 | mg¦g¦kg¦other: | vocab1: mg; vocab2: g; vocab3: kg; vocab4: other:
inhibition_check_0_1 | Boolean | 0
lib_conc_unit | controlled vocabulary | 4 | ng/µL¦nM¦pM¦other: | vocab1: ng/µL; vocab2: nM; vocab3: pM; vocab4: other:
lib_layout | controlled vocabulary | 3 | paired end¦single end¦other: | vocab1: paired end; vocab2: single end; vocab3: other:
min_reads_cutoff_unit | controlled vocabulary | 3 | reads¦%¦other: | vocab1: reads; vocab2: %; vocab3: other:
neg_cont_0_1 | Boolean | 0
neg_cont_type | controlled vocabulary | 6 | site negative¦field negative¦process negative¦extraction negative¦PCR negative¦other: | vocab1: site negative; vocab2: field negative; vocab3: process negative; vocab4: extraction negative; vocab5: PCR negative; vocab6: other:
nitrate_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
nitrite_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
nucl_acid_ext_lysis | controlled vocabulary | 6 | physical¦chemical¦enzymatic¦thermal¦osmotic¦other: | vocab1: physical; vocab2: chemical; vocab3: enzymatic; vocab4: thermal; vocab5: osmotic; vocab6: other:
nucl_acid_ext_sep | controlled vocabulary | 7 | column-based¦magnetic beads¦centrifugation¦precipitation¦phenol chloroform¦gel electrophoresis¦other: | vocab1: column-based; vocab2: magnetic beads; vocab3: centrifugation; vocab4: precipitation; vocab5: phenol chloroform; vocab6: gel electrophoresis; vocab7: other:
org_carb_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
org_matter_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
org_nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
part_org_carb_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
part_org_nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | vocab1: µM; vocab2: mol/m3; vocab3: mmol/m3; vocab4: µmol/m3; vocab5: mol/L; vocab6: mmol/L; vocab7: µmol/L; vocab8: mg/L; vocab9: µg/L; vocab10: µmol/kg; vocab11: mmol/kg; vocab12: parts per million; vocab13: other:
pcr_0_1 | Boolean | 0
pcr_assay_lod_unit | controlled vocabulary | 5 | copies/reaction¦copies/µL¦ng/reaction¦ng/µL¦other: | vocab1: copies/reaction; vocab2: copies/µL; vocab3: ng/reaction; vocab4: ng/µL; vocab5: other:
pcr_assay_loq_unit | controlled vocabulary | 5 | copies/reaction¦copies/µL¦ng/reaction¦ng/µL¦other: | vocab1: copies/reaction; vocab2: copies/µL; vocab3: ng/reaction; vocab4: ng/µL; vocab5: other:
platform | controlled vocabulary | 16 | ILLUMINA¦BGISEQ¦CAPILLARY¦DNBSEQ¦ELEMENT¦GENAPSYS¦GENEMIND¦HELICOS¦ION_TORRENT¦LS454¦OXFORD_NANOPORE¦PACBIO_SMRT¦TAPESTRI¦VELA_DIAGNOSTICS¦ULTIMA¦other: | vocab1: ILLUMINA; vocab2: BGISEQ; vocab3: CAPILLARY; vocab4: DNBSEQ; vocab5: ELEMENT; vocab6: GENAPSYS; vocab7: GENEMIND; vocab8: HELICOS; vocab9: ION_TORRENT; vocab10: LS454; vocab11: OXFORD_NANOPORE; vocab12: PACBIO_SMRT; vocab13: TAPESTRI; vocab14: VELA_DIAGNOSTICS; vocab15: ULTIMA; vocab16: other:
pos_cont_0_1 | Boolean | 0
precip_chem_prep | controlled vocabulary | 4 | ethanol¦isopropanol¦sodium chloride¦other: | vocab1: ethanol; vocab2: isopropanol; vocab3: sodium chloride; vocab4: other:
prepped_samp_store_sol | controlled vocabulary | 6 | ethanol¦sodium acetate¦longmire¦lysis buffer¦none¦other: | vocab1: ethanol; vocab2: sodium acetate; vocab3: longmire; vocab4: lysis buffer; vocab5: none; vocab6: other:
probeQuencher | controlled vocabulary | 6 | Zero-End Quencher (ZEN)¦TAMRA¦lowa Black¦Minor Groove Binder (MGB)¦Black Hole Quencher (BHQ)¦other: | vocab1: Zero-End Quencher (ZEN); vocab2: TAMRA; vocab3: lowa Black; vocab4: Minor Groove Binder (MGB); vocab5: Black Hole Quencher (BHQ); vocab6: other:
pump_flow_rate_unit | controlled vocabulary | 7 | m3/s¦m3/min¦m3/h¦L/s¦L/min¦L/h¦other: | vocab1: m3/s; vocab2: m3/min; vocab3: m3/h; vocab4: L/s; vocab5: L/min; vocab6: L/h; vocab7: other:
samp_category | controlled vocabulary | 5 | sample¦negative control¦positive control¦PCR standard¦other: | vocab1: sample; vocab2: negative control; vocab3: positive control; vocab4: PCR standard; vocab5: other:
samp_size_unit | controlled vocabulary | 10 | mL¦L¦mg¦g¦kg¦cm2¦m2¦cm3¦m3¦other: | vocab1: mL; vocab2: L; vocab3: mg; vocab4: g; vocab5: kg; vocab6: cm2; vocab7: m2; vocab8: cm3; vocab9: m3; vocab10: other:
samp_store_sol | controlled vocabulary | 6 | ethanol¦sodium acetate¦longmire¦lysis buffer¦none¦other: | vocab1: ethanol; vocab2: sodium acetate; vocab3: longmire; vocab4: lysis buffer; vocab5: none; vocab6: other:
samp_vol_we_dna_ext_unit | controlled vocabulary | 10 | mL¦L¦mg¦g¦kg¦cm2¦m2¦cm3¦m3¦other: | vocab1: mL; vocab2: L; vocab3: mg; vocab4: g; vocab5: kg; vocab6: cm2; vocab7: m2; vocab8: cm3; vocab9: m3; vocab10: other:
std_conc_unit | controlled vocabulary | 7 | copies/reaction¦copies/µL of DNA extract¦copies/µL of reaction¦ng/reaction¦ng/µL of DNA extract¦ng/µL of reaction¦other: | vocab1: copies/reaction; vocab2: copies/µL of DNA extract; vocab3: copies/µL of reaction; vocab4: ng/reaction; vocab5: ng/µL of DNA extract; vocab6: ng/µL of reaction; vocab7: other:
std_type | controlled vocabulary | 5 | synthetic double-stranded DNA¦plasmid¦amplicon¦gDNA¦other: | vocab1: synthetic double-stranded DNA; vocab2: plasmid; vocab3: amplicon; vocab4: gDNA; vocab5: other:
target_gene | controlled vocabulary | 29 | 12S rRNA (SSU mitochondria)¦16S rRNA (LSU mitochondria)¦16S rRNA (SSU prokaryote)¦23S rRNA (LSU prokaryote)¦18S rRNA (SSU eukaryote)¦28S rRNA (LSU eukaryote)¦rbcL¦CytB¦COI¦COII¦COIII¦nifH¦ITS¦ND1¦ND2¦ND3¦ND4¦ND5¦ND6¦amoA¦rpoB¦rpoC1¦rpoC2¦matK¦trnH¦trnL¦psbK¦D-loop¦other: | 12S rRNA (SSU mitochondria) | 16S rRNA (LSU mitochondria) | 16S rRNA (SSU prokaryote) | 23S rRNA (LSU prokaryote) | 18S rRNA (SSU eukaryote) | 28S rRNA (LSU eukaryote) | rbcL | CytB | COI | COII | COIII | nifH | ITS | ND1 | ND2 | ND3 | ND4 | ND5 | ND6 | amoA | rpoB | rpoC1 | rpoC2 | matK | trnH | trnL | psbK | D-loop | other:
tax_assign_cat | controlled vocabulary | 5 | sequence similarity¦sequence composition¦phylogeny¦probabilistic¦other: | sequence similarity | sequence composition | phylogeny | probabilistic | other:
taxonRank | controlled vocabulary | 8 | kingdom¦phylum¦class¦order¦family¦genus¦species¦other: | kingdom | phylum | class | order | family | genus | species | other:
tot_carb_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | µM | mol/m3 | mmol/m3 | µmol/m3 | mol/L | mmol/L | µmol/L | mg/L | µg/L | µmol/kg | mmol/kg | parts per million | other:
tot_diss_nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | µM | mol/m3 | mmol/m3 | µmol/m3 | mol/L | mmol/L | µmol/L | mg/L | µg/L | µmol/kg | mmol/kg | parts per million | other:
tot_inorg_nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | µM | mol/m3 | mmol/m3 | µmol/m3 | mol/L | mmol/L | µmol/L | mg/L | µg/L | µmol/kg | mmol/kg | parts per million | other:
tot_nitro_content_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | µM | mol/m3 | mmol/m3 | µmol/m3 | mol/L | mmol/L | µmol/L | mg/L | µg/L | µmol/kg | mmol/kg | parts per million | other:
tot_nitro_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | µM | mol/m3 | mmol/m3 | µmol/m3 | mol/L | mmol/L | µmol/L | mg/L | µg/L | µmol/kg | mmol/kg | parts per million | other:
tot_org_carb_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | µM | mol/m3 | mmol/m3 | µmol/m3 | mol/L | mmol/L | µmol/L | mg/L | µg/L | µmol/kg | mmol/kg | parts per million | other:
tot_part_carb_unit | controlled vocabulary | 13 | µM¦mol/m3¦mmol/m3¦µmol/m3¦mol/L¦mmol/L¦µmol/L¦mg/L¦µg/L¦µmol/kg¦mmol/kg¦parts per million¦other: | µM | mol/m3 | mmol/m3 | µmol/m3 | mol/L | mmol/L | µmol/L | mg/L | µg/L | µmol/kg | mmol/kg | parts per million | other:
verbatimCoordinateSystem | controlled vocabulary | 4 | decimal degrees¦degrees minutes seconds¦UTM¦other: | decimal degrees | degrees minutes seconds | UTM | other:
verbatimSRS | controlled vocabulary | 8 | WGS84¦NAD84¦NAD27¦GDA94¦GDA2020¦ETRS89¦JGD2000¦other: | WGS84 | NAD84 | NAD27 | GDA94 | GDA2020 | ETRS89 | JGD2000 | other:

## sampleMetadata
# requirement_level_code | M | M | M | R | O | O | R | O | M | M | O | O | O | O | M | M | O | O | O | M | M | M | R | R | R | HR | HR | HR | HR | HR | O | O | O | R | R | R | O | O | O | HR | HR | R | R | HR | R | HR | HR | HR | HR | R | R | R | O | O | HR | HR | R | R | HR | HR | R | R | R | R | R | O | O | R | O | M | M | O | R | R | R | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O
# section | Sample information | Sample information | Sample information | Sample relations | Sample relations | Sample relations | Sample relations | Sample relations | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample collection | Sample storage | Sample storage | Sample storage | Sample storage | Sample storage | Sample storage | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Sample preparation | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | Nucleic acid extraction | PCR | Targeted assay detection | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment | Environment
samp_name | samp_category | neg_cont_type | pos_cont_type | materialSampleID | sample_derived_from | sample_composed_of | rel_cont_id | biological_rep_relation | decimalLongitude | decimalLatitude | verbatimLongitude | verbatimLatitude | verbatimCoordinateSystem | verbatimSRS | geo_loc_name | eventDate | eventDurationValue | verbatimEventDate | verbatimEventTime | env_broad_scale | env_local_scale | env_medium | habitat_natural_artificial_0_1 | samp_collect_method | samp_collect_device | samp_size | samp_size_unit | samp_store_temp | samp_store_sol | samp_store_dur | samp_store_loc | dna_store_loc | samp_store_method_additional | samp_mat_process | filter_passive_active_0_1 | stationed_sample_dur | pump_flow_rate | pump_flow_rate_unit | prefilter_material | size_frac_low | size_frac | filter_diameter | filter_surface_area | filter_material | filter_name | precip_chem_prep | precip_force_prep | precip_time_prep | precip_temp_prep | prepped_samp_store_temp | prepped_samp_store_sol | prepped_samp_store_dur | prep_method_additional | date_ext | samp_vol_we_dna_ext | samp_vol_we_dna_ext_unit | nucl_acid_ext_lysis | nucl_acid_ext_sep | nucl_acid_ext | nucl_acid_ext_kit | nucl_acid_ext_modify | dna_cleanup_0_1 | dna_cleanup_method | concentration | concentration_unit | concentration_method | ratioOfAbsorbance260_280 | pool_dna_num | nucl_acid_ext_method_additional | assay_name | detected_notDetected | samp_weather | minimumDepthInMeters | maximumDepthInMeters | tot_depth_water_col | elev | alt | temp | chlorophyll | light_intensity | ph | ph_meth | salinity | suspend_part_matter | tidal_stage | turbidity | water_current | humidity | solar_irradiance | wind_direction | wind_speed | host_species | host_life_stage | host_tot_mass | host_tot_mass_unit | host_height | host_height_unit | host_length | host_length_unit | diss_inorg_carb | diss_inorg_carb_unit | diss_inorg_nitro | diss_inorg_nitro_unit | diss_org_carb | diss_org_carb_unit | diss_org_nitro | diss_org_nitro_unit | diss_oxygen | diss_oxygen_unit | tot_diss_nitro | tot_diss_nitro_unit | tot_inorg_nitro | tot_inorg_nitro_unit | tot_nitro | tot_nitro_unit | tot_part_carb | tot_part_carb_unit | tot_org_carb | tot_org_carb_unit | tot_org_c_meth | tot_nitro_content | tot_nitro_content_unit | tot_nitro_cont_meth | tot_carb | tot_carb_unit | part_org_carb | part_org_carb_unit | part_org_nitro | part_org_nitro_unit | nitrate | nitrate_unit | nitrite | nitrite_unit | nitro | nitro_unit | org_carb | org_carb_unit | org_matter | org_matter_unit | org_nitro | org_nitro_unit
Note on B3: Heights of objects such as airplanes, space shuttles, rockets, atmospheric balloons and heights of places such as atmospheric layers and clouds. It is used to measure the height of an object which is above the earth's surface. In this context, the altitude measurement is the vertical distance between the earth's surface above sea level and the sampled position in the air. Unit = meter Requirement: O
Note on C3: A brief, concise identifier for assay with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'assay_name'. Requirement: M
Note on D3: This term lists the samp_name of biological replicates associated with the current sample. For example, if three biological replicates ("S01_1", "S01_2", and "S01_3") were collected from the same sampling site, the value for biological_rep_relation in each of these replicates would be "S01_1 ¦ S01_2 ¦ S01_3". Requirement: O
Note on E3: Concentration of chlorophyll. Unit = mg/m3 Requirement: O
Note on F3: Concentration of total DNA after extraction Requirement: R
Note on G3: Description of method/instrument used for concentration measurement Requirement: O
Note on H3: The unit of total DNA concentration after extraction Requirement: R
Note on I3: Date of nucleic acid extraction, written in ISO 8601 format Requirement: O
Note on J3: The geographic latitude in decimal degrees using WGS84 datum. Positive values are north of the Equator, negative values are south of it. Legal values lie between -90 and 90, inclusive. The desired minimum number of decimal places is the hundred-thousandth (0.00001) to achieve meter scale resolution. Requirement: M
Note on K3: The geographic longitude in decimal degrees using WGS84 datum. Positive values are east of the Greenwich Meridian, negative values are west of it. Legal values lie between -180 and 180, inclusive. The desired minimum number of decimal places is the hundred-thousandth (0.00001) to achieve meter scale resolution. Requirement: M
Note on L3: Detection of the targeted taxon for each biological replicate, based on the specified detection criteria (detailed under the term 'detection_criteria'). Detected = 1, Not detected = 0. For projects employing multiple assays, this term should be specified separately for each assay. The term name should include the assay identifier in the format detected_notDetected_<assay_name> (e.g., detected_notDetected_eSERU5). Requirement: M
Note on M3: Dissolved inorganic carbon concentration in the sample, typically measured after filtering the sample using a 0.45 micrometre filter Requirement: O
Note on N3: The unit of diss_inorg_carb Requirement: O
Note on O3: Concentration of dissolved inorganic nitrogen Requirement: O
Note on P3: The unit of diss_inorg_nitro Requirement: O
Note on Q3: Concentration of dissolved organic carbon in the sample, liquid portion of the sample, or aqueous phase of the fluid Requirement: O
Note on R3: The unit of diss_org_carb Requirement: O
Note on S3: Dissolved organic nitrogen concentration measured as; total dissolved nitrogen - NH4 - NO3 - NO2 Requirement: O
Note on T3: The unit of diss_org_nitro Requirement: O
Note on U3: Concentration of dissolved oxygen Requirement: O
Note on V3: The unit of diss_oxygen Requirement: O
Note on W3: Was the extracted DNA cleaned/purified? Yes = 1, No =0 Requirement: R
Note on X3: A description of DNA clean-up method. Provide the name of a commercial kit if used. Requirement: R
Note on Y3: Location at which extracted DNA was stored, usually name of a specific freezer/room Requirement: O
Note on Z3: Elevation of the sampling site is its height above a fixed reference point, most commonly the mean sea level. Elevation is mainly used when referring to points on the earth's surface, while altitude is used for points above the surface, such as an aircraft in flight or a spacecraft in orbit. i.e. 0m for seawater sample. Unit = meter Requirement: O
Note on AA3: Major environmental system your sample came from. The systems identified should have a coarse spatial grain, to provide the general environmental context of where the sampling was done. Select from ENVO’s biome class: http://purl.obolibrary.org/obo/ENVO_00000428. Examples include; estuarine biome [ENVO:01000020], tropical moist broadleaf forest biome [ENVO:01000228], Requirement: M
Note on AB3: The entity or entities which are in your sample or specimen’s local vicinity and which you believe have significant causal influences on your sample. Select from ENVO's layer class: http://purl.obolibrary.org/obo/ENVO_01000281. Examples include; marine pelagic zone [ENVO:00000208], estuarine coastal surface layer [ENVO:01001302], shrub layer [ENVO:01000336] Requirement: M
Note on AC3: Environmental material or materials (pipe separated) immediately surrounded your sample prior to sampling. Select from ENVO's environmental material class (entity/ continuant/ independent continuant/ material entity/ environmental material): http://purl.obolibrary.org/obo/ENVO_00010483. Examples include; soil [ENVO:00001998], marine sediment [ENVO:03000033], air [ENVO:00002005], sea water [ENVO:00002149], fresh water [ENVO:00002011], tap water [ENVO:00003096], fecal material [ENVO:00002003], digestive tract environment [ENVO:2100002], intestine environment [ENVO:2100002], planktonic material [ENVO:01000063] Requirement: M
Note on AD3: The date and time of sampling, either as an instance (single point in time) or interval. Must follow ISO 8601 format (yyyy-mm-ddThh:mm:ss). Time zone must be specified after the timestamp (e.g., "2008-01-23T19:23-06:00" in the time zone six hours earlier than UTC, "2008-01-23T19:23Z" at UTC time). In case no exact time is available, the date/time can be right truncated i.e. all of these are valid times: 2008-01-23T19:23:10+00:00; 2008-01-23T19:23:10Z; 2008-01-23; 2008-01; 2008; Except: 2008-01; 2008 all are ISO8601 compliant. A date and time range can be specified using a forward slash (/) to separate the start and end values (e.g., 2008-01-23T19:23-06:00/2008-01-23T19:53-06:00). A duration can also be provided using the eventDurationValue term. Requirement: M
Note on AE3: The duration of the sampling event, written in ISO 8601 format (i.e., P1DT3H for 1 day and 3 hours period. P1Y6M for 1 year and 6 months period. T30M/45M for some time between 30 and 45 minutes). Requirement: O
Note on AF3: Diameter of a filter if circular. Unit = mm Requirement: R
Note on AG3: Material of filter Requirement: HR
Note on AH3: Commercial names and brand of filter Requirement: R
Note on AI3: Whether water/ air samples were collected using active (i.e. pump, fan) or passive (i.e. submerged materials in water/air) filtration approach. Active = 1, Passive = 0 Requirement: R
Note on AJ3: Surface area of a filter. Unit = mm2 Requirement: R
Note on AK3: The geographical origin of the sample as defined by the country or sea name followed by regions and localities. Country or sea names should be chosen from the INSDC Geographic Location Name List INSDC country list (http://insdc.org/country.html). Fixed format following <country or sea names>:<region>,<locality>. E.g., "USA: Maryland, Bethesda" , "Atlantic Ocean:Charlie Gibbs Fracture Zone" Requirement: M
Note on AL3: Whether samples were taken from natural (0) or artificial (1) habitat. The examples of artificial habitat include mesocosm tank in lab, enclosure in zoo etc., including semi-natural systems. The definition of natural habitat is locations uncontrolled by researchers Requirement: R
Note on AM3: The height of subject Requirement: O
Note on AN3: The unit of host_height Requirement: O
Note on AO3: The length of subject Requirement: O
Note on AP3: The unit of host_length Requirement: O
Note on AQ3: Description of life stage of host. Select from UBERON's life cycle class (http://purl.obolibrary.org/obo/UBERON_0000104) Requirement: O
Note on AR3: The scientific name of host species. i.e. predator species where a gut content sample was dissected from. Requirement: O
Note on AS3: Total mass of the host at collection, the unit depends on host. Requirement: O
Note on AT3: The unit of host_tot_mass Requirement: O
Note on AU3: Amount of water vapour in the air, at the time of sampling relative to the maximum amount of water vapor the air can hold at a given temperature and pressure. Also known as relative humidity. Unit = % Requirement: O
Note on AV3: Measurement of light intensity. Unit = lux Requirement: O
Note on AW3: An identifier for the physical sample (as opposed to the extracted DNA sample defined by samp_name). In the absence of a persistent global unique identifier, construct one from a combination of identifiers in the record. Requirement: R
Note on AX3: The greater depth of a range of depth (vertical distance below the local surface) at which a sample was collected. For sediment or soil samples depth is measured from sediment or soil surface, respectively. If there is only one single point of depth (no range), the values in minimumDepthInMeters and maximumDepthInMeters are the same. Unit = meter Requirement: R
Note on AY3: The lesser depth of a range of depth (vertical distance below the local surface) at which a sample was collected. For sediment or soil samples depth is measured from sediment or soil surface, respectively. If there is only one single point of depth (no range), the values in minimumDepthInMeters and maximumDepthInMeters are the same. Unit = meter Requirement: R
Note on AZ3: A negative control type used in an investigation. See Table 2 in Klymus et al. 2024 (DOI: 10.3897/mbmg.8.128689) for the description of each control type, how and why it's created. For example, process negative is a sample added during processing that lacks target DNA, such as blank filter papers. Requirement: M
Note on BA3: Concentration of nitrate in the sample Requirement: O
Note on BB3: The unit of nitrate Requirement: O
Note on BC3: Concentration of nitrite in the sample Requirement: O
Note on BD3: The unit of nitrite Requirement: O
Note on BE3: Concentration of nitrogen (total) Requirement: O
Note on BF3: The unit of nitro Requirement: O
Note on BG3: A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the material separation to recover the nucleic acid fraction from a sample. If a custom extraction method has been developed and applied to the samples within this dataset, it is Highly recommended to make the SOP available and provide the link here. Requirement: HR
Note on BH3: The name of the extraction kit used to recover the nucleic acid fraction of an input material Requirement: HR
Note on BI3: The approach used to lyse DNA-containing material. For example, physical methods may involve freeze-thaw cycles or the uses of bead mills, homogenizers and sonicators. Thermal methods apply high temperatures, often used in combination with other methods. Requirement: R
Note on BJ3: Additional information on nucleic acid extraction method, that has not been shared in the given record. Requirement: O
Note on BK3: Description of modification made from a commercial or established protocol (nucl_acid_ext), if made. Requirement: R
Note on BL3: The approach used to separate DNA from a mixture. Requirement: R
Note on BM3: Concentration of organic carbon Requirement: O
Note on BN3: The unit of org_carb Requirement: O
Note on BO3: Concentration of organic matter Requirement: O
Note on BP3: The unit of org_matter Requirement: O
Note on BQ3: Concentration of organic nitrogen Requirement: O
Note on BR3: The unit of org_nitro Requirement: O
Note on BS3: Concentration of particulate organic carbon Requirement: O
Note on BT3: The unit of part_org_carb Requirement: O
Note on BU3: Concentration of particulate organic nitrogen Requirement: O
Note on BV3: The unit of part_org_nitro Requirement: O
Note on BW3: Ph measurement of the sample, or liquid portion of sample, or aqueous phase of the fluid. Unit = no unit Requirement: O
Note on BX3: Reference or method used in determining pH Requirement: O
Note on BY3: The number of extracts that were pooled in to one sample before PCR Requirement: R
Note on BZ3: A positive control type used in an investigation. See Table 2 in Klymus et al. 2024 (DOI: 10.3897/mbmg.8.128689) for the description of each control type, how and why it's created. For example, PCR positive is a introduced target material to monitor for PCR success, including moch community samples. Provide further details (e.g., synthetic DNA) where applicable. Requirement: M
Note on CA3: Chemicals used in precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed Requirement: HR
Note on CB3: Centrifuge force used in precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed. Unit = x g Requirement: HR
Note on CC3: Temperature used in precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed. Unit = degree Celsius Requirement: HR
Note on CD3: Duration of precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed. Unit = minute Requirement: HR
Note on CE3: Material used to pre-filter/pre-sort the sample Requirement: O
Note on CF3: Additional information on sample preparation, storage and preservation prior to DNA extraction, that has not been shared in the given record Requirement: O
Note on CG3: Duration for which the prepared sample was stored prior to DNA extraction, written in ISO 8601 format (i.e., P14D for 14 days period. P1Y6M for 1 year and 6 months period. P1W/4W for some time between 1 and 4 weeks). Note: The storage duration of the original environmental sample (e.g., water, soil) should be recorded under samp_store_dur, while the current term is for the "processed" sample such as filter paper, homogenised and subsampled sediment, prepared for DNA extraction. Requirement: R
Note on CH3: Solution within which the prepared sample was stored prior to DNA extraction. Note: The storage solution of the original environmental sample (e.g., water, soil) should be recorded under samp_store_sol, while the current term is for the "processed" sample such as filter paper, homogenised and subsampled sediment, prepared for DNA extraction. Requirement: R
Note on CI3: Temperature at which the prepared sample was stored prior to DNA extraction. Record either 'ambient' or a numeric value in degree Celsius. Note: The storage temperature of the original environmental sample (e.g., water, soil) should be recorded under samp_store_temp, while the current term is for the "processed" sample such as filter paper, homogenised and subsampled sediment, prepared for DNA extraction. Unit = degree Celsius Requirement: R
Note on CJ3: Pump flow rate of filtration if applicable Requirement: O
Note on CK3: Unit for pump_flow_rate Requirement: O
Note on CL3: Ratio of absorbance at 260 nm and 230 nm assessing DNA purity (mostly secondary measure, indicates mainly EDTA, carbohydrates, phenol). Requirement: O
Note on CM3: (A list of) samp_id of the negative and positive controls related to each sample Requirement: R
Note on CN3: The total concentration of all dissolved salts in a liquid or solid sample. While salinity can be measured by a complete chemical analysis, this method is difficult and time consuming. More often, it is instead derived from the conductivity measurement. This is known as practical salinity. These derivations compare the specific conductance of the sample to a salinity standard such as seawater. Unit = practical salinity unit (psu) Requirement: O
Note on CO3: A type/category of a sample. 'Sample" includes biological and technical replicates. If negative or positive control was selected, provide further information under the terms fill neg_cont_type and pos_cont_type. Requirement: M
Note on CP3: The device used to collect an environmental sample. This term accepts terms listed under environmental sampling device (https://ontobee.org/ontology/OBI?iri=http://purl.obolibrary.org/obo/OBI_0000968) such as syringe [OBI_0000422] and container [OBI_0000967] as well as free-text entry (i.e. niskin bottle, push core, spoon, water bottle). Requirement: R
Note on CQ3: The method employed for collecting the sample. Provide a link to a paper/ handbook/ standard operation protocol if any. Requirement: R
Note on CR3: Any processing applied to the sample during or after retrieving the sample from environment (i.e. sieving, filtration, precipitation, homogenising, subsampling). Requirement: R
Note on CS3: Sample Name is a name that you choose for the sample. It can have any format, but we suggest that you make it concise, unique and consistent within your lab, and as informative as possible. Every Sample Name from a single Submitter must be unique. Requirement: M
Note on CT3: Amount or size of original sample (volume, mass or area) that was collected from the environment. Specify the unit under the term samp_size_unit. Note: the amount or size of (sub)sample processed for DNA extraction should be entered under the term samp_vol_we_dna_ext. Requirement: HR
Note on CU3: Unit for samp_size Requirement: HR
Note on CV3: Duration for which the sample was stored prior to DNA extraction, written in ISO 8601 format (i.e., P14D for 14 days period. P1Y6M for 1 year and 6 months period. P1W/4W for some time between 1 and 4 weeks). Note: If a sample was processed before DNA extraction (e.g., filtration, homogenisation, subsampling), enter the storage duration before the process here, and the storage duration of the processed sample under the term prepped_samp_store_temp. Requirement: HR
Note on CW3: Location at which sample was stored, usually name of a specific freezer/room Requirement: O
Note on CX3: Additional information on sample storage method, that has not been shared in the given record. Requirement: O
Note on CY3: Solution within which the sample was stored. Note: If a sample was processed before DNA extraction (e.g., filtration, homogenisation, subsampling), enter the storage solution before the process here, and the storage solution of the processed sample under the term prepped_samp_store_sol. Requirement: HR
Note on CZ3: Temperature at which the sample was stored. Enter either the fixed term "ambient temperature" or a numeric value. Note: If a sample was processed before DNA extraction (e.g., filtration, homogenisation, subsampling), enter the storage temperature before the process here, and the storage temperature of the processed sample (i.e., filter paper) under a term prepped_samp_store_temp. Unit = degree Celsius Requirement: HR
Note on DA3: Volume or mass of sample or subsamples that was processed for DNA extraction. For example, if 1L of water was collected and filtered, and half of the filter paper was used for DNA extraction, the entries of samp_size and samp_vol_we_dna_ext should be 1L and 500mL respectively. Specify the unit under the term samp_vol_ext_unit. Requirement: HR
Note on DB3: Unit for samp_vol_we_dna_ext Requirement: HR
Note on DC3: The weather on the sampling day Requirement: O
Note on DD3: This term contains a list of samp_name values that represent the original samples combined to form the current sample. For example, if environmental samples "S01" and "S02" were pooled into a single sample "S03" at any stage (e.g., before or after DNA extraction), then the value for sample_composed_of in "S03" would be "S01 ¦ S02". Requirement: O
Note on DE3: This term refers to the samp_name of the original (or parent) sample from which the current sample was derived. For example, if sample "S01" (the parent sample) was collected at a sampling site and later subsampled into three child samples with samp_names "S01_1", "S01_2", "S01_3", then "S01" is the value for sample_derived_from in each of the child samples. This includes the case of pcr technical replicates. Requirement: O
Note on DF3: Filtering pore size used in sample filtration. Unit = µm Requirement: HR
Note on DG3: Refers to the mesh/pore size used to pre-filter/pre-sort the sample. Materials larger than the size threshold are excluded from the sample. Unit = µm Requirement: HR
Note on DH3: Description and/or the amount of solar energy that arrives at a specific area of a surface at the time of sampling. i.e. fully exposed, partially shaded, cloud cover 20%, 1.36kW/m2/day Requirement: O
Note on DI3: Duration of on-site, stationed sampling (i.e., the filter deployment period). This term is recommended to be recorded when filters are deployed directly in the environment, such as during airborne eDNA sampling or when filters are submerged in water for a certain period). The duration should be recorded using ISO 8601 duration format (P<date>T<time>). For example, P1Y1M1DT1H1M1.1S represents 1 year, 1 month, 1 day, 1 hour, 1 minute, 1 second, and 100 milliseconds Requirement: R
Note on DJ3: Concentration of suspended particulate matter. Unit = mg/L Requirement: O
Note on DK3: Temperature of the sample at the time of sampling in degree Celsius Requirement: O
Note on DL3: Stage of tide Requirement: O
Note on DM3: Total carbon content Requirement: O
Note on DN3: The unit of tot_carb Requirement: O
Note on DO3: Measurement of total depth of water column. For example, if a sea surface water sample was collected at a sampling site where the water depth was 15m, enter 15 here and 0 under the terms minimumDepthInMeters and maximumDepthInMeters. Unit = meter Requirement: R
Note on DP3: Total dissolved nitrogen concentration, reported as nitrogen, measured by: total dissolved nitrogen = NH4 + NO3NO2 + dissolved organic nitrogen Requirement: O
Note on DQ3: The unit of tot_diss_nitro Requirement: O
Note on DR3: Total inorganic nitrogen content Requirement: O
Note on DS3: The unit of tot_inorg_nitro Requirement: O
Note on DT3: Total nitrogen concentration of water samples, calculated by: total nitrogen = total dissolved nitrogen + particulate nitrogen. Can also be measured without filtering, reported as nitrogen Requirement: O
Note on DU3: Reference or method used in determining the total nitrogen Requirement: O
Note on DV3: Total nitrogen content of the sample Requirement: O
Note on DW3: The unit of tot_nitro_content Requirement: O
Note on DX3: The unit of tot_nitro Requirement: O
Note on DY3: Reference or method used in determining total organic carbon Requirement: O
Note on DZ3: Total organic carbon content Requirement: O
Note on EA3: The unit of tot_org_carb Requirement: O
Note on EB3: Total particulate carbon content Requirement: O
Note on EC3: The unit of tot_part_carb Requirement: O
Note on ED3: Measure of the amount of cloudiness or haziness in water caused by individual particles. Unit = nephelometric turbidity unit (ntu) Requirement: O
Note on EE3: The coordinate format of the verbatimLatitude and verbatimLongitude Requirement: O
Note on EF3: Sample collection date before formatting Requirement: O
Note on EG3: Sample collection time before formatting to ISO 8601, or at the local time (if eventDate time samp has been converted to UTC time) Requirement: O
Note on EH3: The original latitude in any format (i.e. deg/min/sec, UTM) before converting to decimal degrees and WGS84. verbatimCoordinateSystem and verbatimSRS should be stored as well. Requirement: O
Note on EI3: The original longitude in any format (i.e. deg/min/sec, UTM) before converting to decimal degrees and WGS84. verbatimCoordinateSystem and verbatimSRS should be stored as well. Requirement: O
Note on EJ3: The ellipsoid, geodetic datum, or spatial reference system (SRS) upon which coordinates given in verbatimLatitude and verbatimLongitude are based. Requirement: O
Note on EK3: Measurement of magnitude and direction of flow within a fluid. Unit = m/s Requirement: O
Note on EL3: Wind direction (the direction from which a wind originates) at the time of sampling Requirement: O
Note on EM3: Speed of wind measured at the time of sampling. Unit = m/s Requirement: O

## ampData
# requirement_level_code | M | M | M | M | O | R | R | R | R | R
# section | PCR | PCR | PCR | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection
samp_name | technical_rep_id | assay_name | pcr_plate_id | quantificationCycle | rfu | estimatedNumberOfCopies_method | estimatedNumberOfCopies | estimatedNumberOfCopies_unit | estimatedNumberOfCopies_error | estimatedNumberOfCopies_error_type
Note on B3: A brief, concise identifier for assay with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'assay_name'. Requirement: M
Note on C3: Estimated concentration of target molecules. Describe the approach taken to estimate it under the term estaimtedNumberOfCopies_method. Requirement: R
Note on D3: The measure of variability (e.g., standard error) associated with the estimatedNumberOfCopies value, applicable when the estimatedNumberOfCopies represents an average calculated from multiple technical replicates per sample. Requirement: R
Note on E3: The specific type of variability measure (e.g., standard error, standard deviation) used to describe estimatedNumberOfCopies_error. Requirement: R
Note on F3: Method to output estimatedNumberOfCopies Requirement: R
Note on G3: Unit for estimatedNumberOfCopies Requirement: R
Note on H3: PCR plate ID. This identifier is particularly crucial when location-specific standard curves are employed for targeted assay detections, as it ensures a linkage between the standards and the corresponding eDNA samples. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Requirement: M
Note on I3: The number of cycles required for the fluorescent signal to cross a given value threshold above the baseline for each technical replicate. Quantification cycle (Cq), threshold cycle (Ct), crossing point (Cp), and take-off point (TOP) refer to the same value from the real-time instrument. Use of quantification cycle (Cq), is preferable according to the RDML (Real-Time PCR Data Markup Language) data standard (http://www.rdml.org). Use "NA" (not zero) to indicate no amplification occurred. Unit = Cycle Requirement: M
Note on J3: Relative Fluorescence Units (RFU). No unit Requirement: O
Note on K3: Sample Name is a name that you choose for the sample. It can have any format, but we suggest that you make it concise, unique and consistent within your lab, and as informative as possible. Every Sample Name from a single Submitter must be unique. Requirement: M
Note on L3: An integer uniquely identifying a specific PCR technical replicate within a sample. Requirement: M

## stdData
# requirement_level_code | M | M | M | M | M | M | O | HR | HR | R | R
# section | PCR | PCR | PCR | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection
samp_name | technical_rep_id | assay_name | pcr_plate_id | std_conc | std_conc_unit | quantificationCycle | rfu | efficiency | r2 | slope | intercept
Note on B3: A brief, concise identifier for assay with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'assay_name'. Requirement: M
Note on C3: qPCR amplification efficiency calculated from slope. Unit = % Requirement: HR
Note on D3: Intercept of a qPCR standard curve. This shall be specific to each pcr_plate_id. Requirement: R
Note on E3: PCR plate ID. This identifier is particularly crucial when location-specific standard curves are employed for targeted assay detections, as it ensures a linkage between the standards and the corresponding eDNA samples. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Requirement: M
Note on F3: The number of cycles required for the fluorescent signal to cross a given value threshold above the baseline for each technical replicate. Quantification cycle (Cq), threshold cycle (Ct), crossing point (Cp), and take-off point (TOP) refer to the same value from the real-time instrument. Use of quantification cycle (Cq), is preferable according to the RDML (Real-Time PCR Data Markup Language) data standard (http://www.rdml.org). Use "NA" (not zero) to indicate no amplification occurred. Unit = Cycle Requirement: M
Note on G3: R-squared value of a qPCR standard curve. This shall be specific to each pcr_plate_id. Requirement: HR
Note on H3: Relative Fluorescence Units (RFU). No unit Requirement: O
Note on I3: Sample Name is a name that you choose for the sample. It can have any format, but we suggest that you make it concise, unique and consistent within your lab, and as informative as possible. Every Sample Name from a single Submitter must be unique. Requirement: M
Note on J3: Slope of a qPCR standard curve. This shall be specific to each pcr_plate_id. Requirement: R
Note on K3: Input quantity of qPCR standard DNA Requirement: M
Note on L3: Unit for input quantity of qPCR standard DNA Requirement: M
Note on M3: An integer uniquely identifying a specific PCR technical replicate within a sample. Requirement: M

## experimentRunMetadata
# requirement_level_code | M | M | M | M | R | R | R | R | O | O | R | R | R | R | R | R | R | R | R
# section | PCR | PCR | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Library preparation sequencing | Bioinformatics | Bioinformatics | Bioinformatics | Bioinformatics
samp_name | assay_name | pcr_plate_id | lib_id | seq_run_id | lib_conc | lib_conc_unit | lib_conc_meth | phix_perc | mid_forward | mid_reverse | filename | filename2 | checksum_filename | checksum_filename2 | associatedSequences | input_read_count | output_read_count | output_otu_num | otu_num_tax_assigned
Note on B3: A brief, concise identifier for assay with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'assay_name'. Requirement: M
Note on C3: A list (concatenated and separated) of identifiers (publication, global unique identifier, URI) of genetic sequence information associated with the samp_name Requirement: R
Note on D3: The checksum of the forward sequence reads file (filename), used to verify the integrity and identity of the corresponding data file Requirement: R
Note on E3: The checksum of the reverse sequence reads file (filename2), used to verify the integrity and identity of the corresponding data file Requirement: R
Note on F3: A file name of raw sequencing data. If paired end, fill filename2 for the reverse read Requirement: R
Note on G3: A raw sequencing data file name of reverse reads if lib_layout = paired end Requirement: R
Note on H3: The total number of raw sequence reads for each sample. Unit = reads Requirement: R
Note on I3: The concentration of the prepared library pool that was loaded onto the sequencing platform for a sequencing run. Requirement: R
Note on J3: Method to estimate lib_conc Requirement: R
Note on K3: Unit for lib_conc Requirement: R
Note on L3: An identifier of a library (an amplicon of a sample with unique MIDs) Requirement: M
Note on M3: Forward multiplex Identifiers (MIDs), that was used to specifically tag unique samples in a sequencing run. Sequence should be reported in uppercase letters Requirement: O
Note on N3: Reverse multiplex Identifiers (MIDs), that was used to specifically tag unique samples in a sequencing run. Sequence should be reported in uppercase letters Requirement: O
Note on O3: Total number of OTUs or ASVs assigned to taxa based on the study-specific thresholds for each sample Requirement: R
Note on P3: Total number of OTUs or ASVs for each sample Requirement: R
Note on Q3: The number of filtered sequence reads for each sample, that made it through bioinformatic filtering and used for final/subsequent analyses. Unit = reads Requirement: R
Note on R3: PCR plate ID. This identifier is particularly crucial when location-specific standard curves are employed for targeted assay detections, as it ensures a linkage between the standards and the corresponding eDNA samples. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Requirement: M
Note on S3: % of PhiX added into a library, if applicable. Unit = % Requirement: R
Note on T3: Sample Name is a name that you choose for the sample. It can have any format, but we suggest that you make it concise, unique and consistent within your lab, and as informative as possible. Every Sample Name from a single Submitter must be unique. Requirement: M
Note on U3: A brief, concise identifier for sequencing run with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'seq_run_id'. Requirement: M

## eLowQuantData
# requirement_level_code | HR | R | R | R | R
# section | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection | Targeted assay detection
assay_name | num_detect | estimatedNumberOfCopies | estimatedNumberOfCopies_unit | estimatedNumberOfCopies_error | estimatedNumberOfCopies_error_type
Note on B3: A brief, concise identifier for assay with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'assay_name'. Requirement: M
Note on C3: Estimated concentration of target molecules. Describe the approach taken to estimate it under the term estaimtedNumberOfCopies_method. Requirement: R
Note on D3: The measure of variability (e.g., standard error) associated with the estimatedNumberOfCopies value, applicable when the estimatedNumberOfCopies represents an average calculated from multiple technical replicates per sample. Requirement: R
Note on E3: The specific type of variability measure (e.g., standard error, standard deviation) used to describe estimatedNumberOfCopies_error. Requirement: R
Note on F3: Unit for estimatedNumberOfCopies Requirement: R
Note on G3: Number of detection using the eLow Quant approach (described in DOI: 10.1002/edn3.220) Requirement: HR

## taxaRaw
# requirement_level_code | M | R | R | R | R | R | R | R | HR | R | HR | HR | HR | O | R | R | R | R | R | O
# section | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV
seq_id | dna_sequence | kingdom | phylum | class | order | family | genus | specificEpithet | scientificName | scientificNameAuthorship | taxonRank | taxonID | taxonID_db | verbatimIdentification | accession_id | accession_id_ref_db | percent_match | percent_query_cover | confidence_score | identificationRemarks
Note on B3: Accession ID of the best matching sequence from a reference database Requirement: R
Note on C3: Reference database (i.e. sequences not generated as part of the current study) of the best matching sequence (accesssion_id) Requirement: R
Note on D3: The full scientific name of the class Requirement: R
Note on E3: Confidence score for the taxonomic assignment, such as from bootstrapping. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 0.996-0.998) Requirement: R
Note on F3: The DNA sequence Requirement: M
Note on G3: The full scientific name of the family Requirement: R
Note on H3: The full scientific name of the genus Requirement: R
Note on I3: Comments or notes about the taxonomic assignment. Requirement: O
Note on J3: The full scientific name of the kingdom Requirement: R
Note on K3: The full scientific name of the order Requirement: R
Note on L3: The percentage of sequence identity between a query sequence obtained from eDNA and a reference sequence in a database. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 98.7-99.2). Requirement: R
Note on M3: The percentage coverage of the query sequence that aligns with a reference sequence in a database. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 98.7-99.2). Unit = % Requirement: R
Note on N3: The full scientific name of the phylum or division Requirement: R
Note on O3: The full scientific name of the genus and species Requirement: HR
Note on P3: The authorship information for the scientificName Requirement: R
Note on Q3: Query sequence ID. Must be unique within the dataset Requirement: M
Note on R3: The name of the first or species epithet of the scientificName. Requirement: R
Note on S3: An identifier for the assigned taxon (or taxa in the case of multiple hits). May be a global unique identifier or an identifier specific to the data set. Requirement: HR
Note on T3: The taxonomy database corresponding to taxonID. Requirement: HR
Note on U3: The taxonomic rank of the most specific name in the scientificName Requirement: HR
Note on V3: A string representing the taxonomic identification as it appeared in the original record (i.e. the database used such as NCBI). This could be the identification Requirement: O

## taxaFinal
# requirement_level_code | M | R | R | R | R | R | R | R | HR | R | HR | HR | HR | O | R | R | R | R | R | O
# section | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV | OTU/ASV
seq_id | dna_sequence | kingdom | phylum | class | order | family | genus | specificEpithet | scientificName | scientificNameAuthorship | taxonRank | taxonID | taxonID_db | verbatimIdentification | accession_id | accession_id_ref_db | percent_match | percent_query_cover | confidence_score | identificationRemarks
Note on B3: Accession ID of the best matching sequence from a reference database Requirement: R
Note on C3: Reference database (i.e. sequences not generated as part of the current study) of the best matching sequence (accesssion_id) Requirement: R
Note on D3: The full scientific name of the class Requirement: R
Note on E3: Confidence score for the taxonomic assignment, such as from bootstrapping. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 0.996-0.998) Requirement: R
Note on F3: The DNA sequence Requirement: M
Note on G3: The full scientific name of the family Requirement: R
Note on H3: The full scientific name of the genus Requirement: R
Note on I3: Comments or notes about the taxonomic assignment. Requirement: O
Note on J3: The full scientific name of the kingdom Requirement: R
Note on K3: The full scientific name of the order Requirement: R
Note on L3: The percentage of sequence identity between a query sequence obtained from eDNA and a reference sequence in a database. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 98.7-99.2). Requirement: R
Note on M3: The percentage coverage of the query sequence that aligns with a reference sequence in a database. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 98.7-99.2). Unit = % Requirement: R
Note on N3: The full scientific name of the phylum or division Requirement: R
Note on O3: The full scientific name of the genus and species Requirement: HR
Note on P3: The authorship information for the scientificName Requirement: R
Note on Q3: Query sequence ID. Must be unique within the dataset Requirement: M
Note on R3: The name of the first or species epithet of the scientificName. Requirement: R
Note on S3: An identifier for the assigned taxon (or taxa in the case of multiple hits). May be a global unique identifier or an identifier specific to the data set. Requirement: HR
Note on T3: The taxonomy database corresponding to taxonID. Requirement: HR
Note on U3: The taxonomic rank of the most specific name in the scientificName Requirement: HR
Note on V3: A string representing the taxonomic identification as it appeared in the original record (i.e. the database used such as NCBI). This could be the identification Requirement: O