## README
Instructions for data submitters:
Date and time must be recorded following ISO 8601 format (yyyy-mm-ddThh:mm:ss)...
Time duration must be recorded following ISO 8601 durations (PnYnMnWnDTnHnMnS...)
A date and time range can be specified using a forward slash (/) ...
Use space vertical bar space ( ¦ ) to separate multiple values in a list...
Use hyphen (-) to indicate a range of numeric or integer values...
For numeric fields, enter only numbers and do not enter units...
For Boolean type of questions, always read the descriptions and answer with 0 or 1.
When "other" is selected..., write the answer using the format of "other: FREE TEXT DESCRIPTION".
If suitable term names are not available..., users should search for them in MIxS or DwC...
When a value is missing from a mandatory term..., use the INSDC missing value vocabulary...
Terms and definitions:
| Term | Definition
| Checklist | A list of eDNA metadata terms, that are mandatory, highly recommended, recommended or optional to fill
| (Data) term | A standardised field name used in data tables (e.g., column headers in sampleMetadata)
| MIDs | Multiplexing identifier tags to label DNA fragments originating from different samples, that are used to demultiplex the sequence data after sequencing
| Library | DNA amplified during the (library) preparation of a single sample. In other words, an amplicon with unique MIDs.
| Library pool | A pool of library that was loaded onto the sequencing platform for a sequencing run.
| Reference database | A collection of DNA sequences from known organisms, used for taxonomic identification of ASVs/OTUs
| ASV | Amplicon sequence variant. A unique sequence of DNA sequences recovered after the removal of erroneous sequences that were generated during PCR and sequencing.
| OTU | Operational taxonomic unit. A cluster of similar sequences that are grouped together based on a defined similarity threshold (e.g., 97%)
| Primer | A short single-stranded sequence of nucleotides that provides a starting point for DNA synthesis. Two primers (forward and reverse) are used in PCR.
| Assay | The complete set of reagents, protocols, and procedures used to perform the PCR amplification and to detect and measure the amplified product. It includes the primers, the DNA polymerase, the reaction buffer, dNTPs, and any additional components or steps required for the specific type of PCR being performed.
| Cq | The threshold cycle. The cycle number at which the fluorescence generated within a reaction exceeds the threshold level.
| Ct | The quantification cycle. Cq and Ct are synonymous terms.

## checklists
data_type | section | term_name | description | requirement_level_code | requirement_level | requirement_level_condition | term_type | unit | fixed_format | controlled_vocabulary_options | example | sample_type_specificity | source | URI | modifications_made
projectMetadata | Project | assay_type | The method used in the eDNA study to detect taxon/taxa of interest in environmental sample. A targeted eDNA assay is designed to detect the presence of a specific species or a small subset of taxa (such as a genus or family) using techniques like quantitative PCR (qPCR). This contrasts with a metabarcoding eDNA assay which aims to characterize the composition of broader taxonomic communities, often encompassing multiple phyletic groups, by utilising high-throughput sequencing such as metabarcoding | M | Mandatory |  | controlled vocabulary |  |  | targeted ¦ metabarcoding ¦ other: | targeted |  | New
projectMetadata | Project | institution | An institution having custody of the object(s) or information referred to in the record. | R | Recommended |  | string |  |  |  | Curtin University |  | New
projectMetadata | Project | institutionID | An identifier for the institution having custody of the object(s) or information referred to in the record. This identifier should point to a persistent, resolvable identifier, such as a Research Organization Registry (ROR) ID or ISNI (International Standard Name Identifier). | R | Recommended |  | string |  |  |  | https://ror.org/042r9xb17 |  | DwC
projectMetadata | Project | neg_cont_0_1 | Were negative controls applied during the project? Yes = 1, No = 0. For further details, record the types of negative controls under the term neg_cont_type in sampleMetadata | HR | Highly recommended |  | string |  |  |  | 1 |  | New
projectMetadata | Project | parent_project_id | An identifier or name of the overarching (parent) project that encompasses and organizes multiple related sub-projects, each identified by a unique project_id | O | Optional |  | string |  |  |  | noaa-aoml-gomecc |  | New
projectMetadata | Project | pos_cont_0_1 | Were positive controls applied during the project? Yes = 1, No = 0. For further details, record the types of positive controls under the term pos_cont_type in sampleMetadata | HR | Highly recommended |  | string |  |  |  | 1 |  | New
projectMetadata | Project | project_contact | A contact person and their contact (i.e., email address) for data enquiry | M | Mandatory |  | string |  |  |  | xxxx@yyyy.com |  | New
projectMetadata | Project | project_id | A brief, concise project identifier with no spaces or special characters, ensuring machine readability. This ID will be used in data file names as 'project_id'. | M | Mandatory |  | string |  |  |  | noaa-aoml-gomecc4 |  | NMDC ¦ NOAA
projectMetadata | Project | project_name | Name of the project within which the sequencing was organized | R | Recommended |  | string |  |  |  | Forest soil metagenome |  | MIxS ¦ DNA-derived data extension
projectMetadata | Project | recordedBy | A list (concatenated and separated) of names of people responsible for the submitted dataset | M | Mandatory |  | string |  |  |  | José E. Crespo |  | DwC |  | description
projectMetadata | Project | recordedByID | A list (concatenated and separated) of the globally unique identifier for the people responsible for the submitted dataset | R | Recommended |  | string |  |  |  | https://orcid.org/0000-0002-1825-0097 ¦ https://orcid.org/0000-0002-1825-0098 |  | DwC |  | description
projectMetadata | Project | sterilise_method | the protocols to minimise contaminations in the field and/or laboratory | HR | Highly recommended |  | string |  |  |  | Sampling bottles were rinsed with 10% bleached and DI water. Single-use syringes and capsule filters were used for filtration. Single-use gloves were used to collect and filter each sample. |  | New
projectMetadata | Project | study_factor | The variable(s) examined in the study, including those of direct interests to address study aims and covariates. | O | Optional |  | string |  |  |  | benthic habitat types ¦ diurnal time series ¦ filter types |  | New
projectMetadata | Data management | accessRights | Information about who can access the resource or an indication of its security status. | R | Recommended |  | string |  |  |  | not-for-profit use only |  | DwC
projectMetadata | Data management | associated_resource | A related resource that is referenced, cited, or otherwise associated to the sequence. i.e., links to a project website, submitted raw sequence data and environmental metadata. | O | Optional |  | string |  |  |  | http://www.earthmicrobiome.org/ |  | MIxS |  | description
projectMetadata | Data management | bibliographicCitation | A bibliographic reference for the resource. | R | Recommended |  | string |  |  |  | DOI: 10.1111/mec.15382 |  | DwC
projectMetadata | Data management | checkls_ver | The version number of the FAIR eDNA (FAIRe) metadata checklist used to format the data | M | Mandatory |  | float |  |  |  | 1.2 |  | New
projectMetadata | Data management | code_repo | Link to public repository where analysis code is archived | R | Recommended |  | string |  |  |  | https://github.com/aomlomics/gomecc |  | NOAA
projectMetadata | Data management | dataGeneralizations | Actions taken to make the shared data (i.e. location, date) less specific or complete than in its original form. Suggests that alternative data of higher quality may be available on request. Note this is not related to genetic generalisation within bioinformatic workflows (i.e., OTU clustering). | O | Optional |  | string |  |  |  | Coordinates generalized from original GPS coordinates to the nearest half degree grid cell. |  | DwC |  | description
projectMetadata | Data management | informationWithheld | Additional information that exists, but that has not been shared in the given record. | O | Optional |  | string |  |  |  | location information not given for endangered species |  | DwC
projectMetadata | Data management | license | A legal document giving official permission to do something with the resource. | R | Recommended |  | string |  |  |  | http://creativecommons.org/licenses/by/4.0/legalcode |  | DwC
projectMetadata | Data management | mod_date | The last date on which the database information was modified, following the ISO 8601 format of yyyy-mm-dd. In case no exact time or date is available, the date/time can be right truncated i.e. all of these are valid times: 2008-01-23T19:23:10+00:00; 2008-01-23T19:23:10Z; 2008-01-23; 2008-01; 2008; Except: 2008-01; 2008 all are ISO8601 compliant. | R | Recommended |  | string |  | yyyy-mm-dd |  | 2014-09-09 |  | NMDC |  | description
projectMetadata | Data management | rightsHolder | A person or organization owning or managing rights over the resource. | R | Recommended |  | string |  |  |  | The Regents of the University of California |  | DwC
sampleMetadata | Sample information | neg_cont_type | A negative control type used in an investigation. See Table 2 in Klymus et al. 2024 (DOI: 10.3897/mbmg.8.128689) for the description of each control type, how and why it's created. For example, process negative is a sample added during processing that lacks target DNA, such as blank filter papers. | M | Mandatory | If samp_category = negative control | controlled vocabulary |  |  | site negative ¦ field negative ¦ process negative ¦ extraction negative ¦ PCR negative ¦ other: | field negative ¦ process negative ¦ extraction negative ¦ PCR negative |  | MIxS |  | description ¦ field_type
sampleMetadata | Sample information | pos_cont_type | A positive control type used in an investigation. See Table 2 in Klymus et al. 2024 (DOI: 10.3897/mbmg.8.128689) for the description of each control type, how and why it's created. For example, PCR positive is a introduced target material to monitor for PCR success, including moch community samples. Provide further details (e.g., synthetic DNA) where applicable. | M | Mandatory | If samp_category = positive control | string |  |  |  | PCR positive of synthetic DNA |  | MIxS
sampleMetadata | Sample information | samp_category | A type/category of a sample. 'Sample" includes biological and technical replicates. If negative or positive control was selected, provide further information under the terms fill neg_cont_type and pos_cont_type. | M | Mandatory |  | controlled vocabulary |  |  | sample ¦ negative control ¦ positive control ¦ PCR standard ¦ other: | sample |  | New
sampleMetadata ¦ ampData ¦ stdData ¦ experimentRunMetadata | Sample information | samp_name | Sample Name is a name that you choose for the sample. It can have any format, but we suggest that you make it concise, unique and consistent within your lab, and as informative as possible. Every Sample Name from a single Submitter must be unique. | M | Mandatory |  | string |  |  |  | S01_1 |  | MIxS ¦ DNA-derived data extension
sampleMetadata | Sample relations | biological_rep_relation | This term lists the samp_name of biological replicates associated with the current sample. For example, if three biological replicates ("S01_1", "S01_2", and "S01_3") were collected from the same sampling site, the value for biological_rep_relation in each of these replicates would be "S01_1 ¦ S01_2 ¦ S01_3". | O | Optional |  | string |  | (a list of) samp_name |  | S01_1 ¦ S01_2 ¦ S01_3 |  | New
sampleMetadata | Sample relations | materialSampleID | An identifier for the physical sample (as opposed to the extracted DNA sample defined by samp_name). In the absence of a persistent global unique identifier, construct one from a combination of identifiers in the record. | R | Recommended |  | string |  |  |  | GOMECC4_27N_Sta1_Deep |  | DwC |  | description
sampleMetadata | Sample relations | rel_cont_id | (A list of) samp_id of the negative and positive controls related to each sample | R | Recommended |  | string |  |  |  | field_blank1 ¦ ext_blank2 ¦ pcr_ntc_plate1 ¦ pcr_posC_plate1 |  | New
sampleMetadata | Sample relations | sample_composed_of | This term contains a list of samp_name values that represent the original samples combined to form the current sample. For example, if environmental samples "S01" and "S02" were pooled into a single sample "S03" at any stage (e.g., before or after DNA extraction), then the value for sample_composed_of in "S03" would be "S01 ¦ S02". | O | Optional |  | string |  | (a list of) samp_name |  | S01 ¦ S02 |  | INSDC
sampleMetadata | Sample relations | sample_derived_from | This term refers to the samp_name of the original (or parent) sample from which the current sample was derived. For example, if sample "S01" (the parent sample) was collected at a sampling site and later subsampled into three child samples with samp_names "S01_1", "S01_2", "S01_3", then "S01" is the value for sample_derived_from in each of the child samples. This includes the case of pcr technical replicates. | O | Optional |  | string |  | (a list of) samp_name |  | S01 |  | INSDC
projectMetadata | Sample collection | biological_rep | The number of biological replicates collected at each sampling point and/or for each experimental treatment in the study. | R | Recommended |  | string |  |  |  | 5 |  | New
sampleMetadata | Sample collection | decimalLatitude | The geographic latitude in decimal degrees using WGS84 datum. Positive values are north of the Equator, negative values are south of it. Legal values lie between -90 and 90, inclusive. The desired minimum number of decimal places is the hundred-thousandth (0.00001) to achieve meter scale resolution. | M | Mandatory | Mandatory unless specified under the term informationWithheld, or samp_category = negative control, positive control, or PCR standard | float |  |  |  | -41.09834 |  | DwC |  | description
sampleMetadata | Sample collection | decimalLongitude | The geographic longitude in decimal degrees using WGS84 datum. Positive values are east of the Greenwich Meridian, negative values are west of it. Legal values lie between -180 and 180, inclusive. The desired minimum number of decimal places is the hundred-thousandth (0.00001) to achieve meter scale resolution. | M | Mandatory | Mandatory unless specified under the term informationWithheld, or samp_category = negative control, positive control, or PCR standard | float |  |  |  | -121.17611 |  | DwC |  | description
sampleMetadata | Sample collection | env_broad_scale | Major environmental system your sample came from. The systems identified should have a coarse spatial grain, to provide the general environmental context of where the sampling was done. Select from ENVO’s biome class: http://purl.obolibrary.org/obo/ENVO_00000428. Examples include; estuarine biome [ENVO:01000020], tropical moist broadleaf forest biome [ENVO:01000228], | M | Mandatory | Mandatory unless samp_category = negative control, positive control, or PCR standard | string |  | termLabel [termID] |  | estuarine biome [ENVO:01000020] |  | MIxS ¦ DNA-derived data extension |  | description ¦ field_type
sampleMetadata | Sample collection | env_local_scale | The entity or entities which are in your sample or specimen’s local vicinity and which you believe have significant causal influences on your sample. Select from ENVO's layer class: http://purl.obolibrary.org/obo/ENVO_01000281. Examples include; marine pelagic zone [ENVO:00000208], estuarine coastal surface layer [ENVO:01001302], shrub layer [ENVO:01000336] | M | Mandatory | Mandatory unless samp_category = negative control, positive control, or PCR standard | string |  | termLabel [termID] |  | estuarine coastal surface layer [ENVO:01001302] |  | MIxS ¦ DNA-derived data extension |  | description ¦ field_type
sampleMetadata | Sample collection | env_medium | Environmental material or materials (pipe separated) immediately surrounded your sample prior to sampling. Select from ENVO's environmental material class (entity/ continuant/ independent continuant/ material entity/ environmental material): http://purl.obolibrary.org/obo/ENVO_00010483. Examples include; soil [ENVO:00001998], marine sediment [ENVO:03000033], air [ENVO:00002005], sea water [ENVO:00002149], fresh water [ENVO:00002011], tap water [ENVO:00003096], fecal material [ENVO:00002003], digestive tract environment [ENVO:2100002], intestine environment [ENVO:2100002], planktonic material [ENVO:01000063] | M | Mandatory | Mandatory unless samp_category = negative control, positive control, or PCR standard | string |  | termLabel [termID] |  | soil [ENVO:00001998] |  | MIxS ¦ DNA-derived data extension |  | description ¦ field_type
sampleMetadata | Sample collection | eventDate | The date and time of sampling, either as an instance (single point in time) or interval. Must follow ISO 8601 format (yyyy-mm-ddThh:mm:ss). Time zone must be specified after the timestamp (e.g., "2008-01-23T19:23-06:00" in the time zone six hours earlier than UTC, "2008-01-23T19:23Z" at UTC time). In case no exact time is available, the date/time can be right truncated i.e. all of these are valid times: 2008-01-23T19:23:10+00:00; 2008-01-23T19:23:10Z; 2008-01-23; 2008-01; 2008; Except: 2008-01; 2008 all are ISO8601 compliant. A date and time range can be specified using a forward slash (/) to separate the start and end values (e.g., 2008-01-23T19:23-06:00/2008-01-23T19:53-06:00). A duration can also be provided using the eventDurationValue term. | M | Mandatory |  | string |  | yyyy-mm-ddThh:mm:ss+-hh:mm |  | 2008-01-23T19:23-06:00 |  | DwC ¦ MIxS |  | description
sampleMetadata | Sample collection | eventDurationValue | The duration of the sampling event, written in ISO 8601 format (i.e., P1DT3H for 1 day and 3 hours period. P1Y6M for 1 year and 6 months period. T30M/45M for some time between 30 and 45 minutes). | O | Optional |  | string |  | PnYnMnWnDTnHnMnS |  | T1H25M |  | Humboldt extension |  | description ¦ field_type
sampleMetadata | Sample collection | geo_loc_name | The geographical origin of the sample as defined by the country or sea name followed by regions and localities. Country or sea names should be chosen from the INSDC Geographic Location Name List INSDC country list (http://insdc.org/country.html). Fixed format following <country or sea names>:<region>,<locality>. E.g., "USA: Maryland, Bethesda" , "Atlantic Ocean:Charlie Gibbs Fracture Zone" | M | Mandatory |  | string |  | <country or sea names>:<region>,<locality> |  | USA: Maryland, Bethesda |  | MIxS |  | description
sampleMetadata | Sample collection | habitat_natural_artificial_0_1 | Whether samples were taken from natural (0) or artificial (1) habitat. The examples of artificial habitat include mesocosm tank in lab, enclosure in zoo etc., including semi-natural systems. The definition of natural habitat is locations uncontrolled by researchers | R | Recommended |  | string |  |  |  | 0 |  | Thalinger et al., 2021
sampleMetadata | Sample collection | samp_collect_device | The device used to collect an environmental sample. This term accepts terms listed under environmental sampling device (https://ontobee.org/ontology/OBI?iri=http://purl.obolibrary.org/obo/OBI_0000968) such as syringe [OBI_0000422] and container [OBI_0000967] as well as free-text entry (i.e. niskin bottle, push core, spoon, water bottle). | R | Recommended |  | string |  |  |  | push core | ALL | MIxS ¦ DNA-derived data extension |  | description
sampleMetadata | Sample collection | samp_collect_method | The method employed for collecting the sample. Provide a link to a paper/ handbook/ standard operation protocol if any. | R | Recommended |  | string |  |  |  | https://research.csiro.au/ambsm/1-sample-collection-procedures/meth_1-2-soil-sampling-for-utas-urban-soil-and-aerial-microbiome-study/ | ALL | MIxS ¦ DNA-derived data extension |  | description
sampleMetadata | Sample collection | samp_size | Amount or size of original sample (volume, mass or area) that was collected from the environment. Specify the unit under the term samp_size_unit. Note: the amount or size of (sub)sample processed for DNA extraction should be entered under the term samp_vol_we_dna_ext. | HR | Highly recommended |  | float | Select from sampl_size_unit |  |  | 5.0 | ALL | MIxS ¦ DNA-derived data extension |  | description
sampleMetadata | Sample collection | samp_size_unit | Unit for samp_size | HR | Highly recommended |  | controlled vocabulary |  |  | mL ¦ L ¦ mg ¦ g ¦ kg ¦ cm2 ¦ m2 ¦ cm3 ¦ m3 ¦ other: | L | ALL | New
sampleMetadata | Sample collection | verbatimCoordinateSystem | The coordinate format of the verbatimLatitude and verbatimLongitude | O | Optional |  | controlled vocabulary |  |  | decimal degrees ¦ degrees minutes seconds ¦ UTM ¦ other: | degrees minutes seconds |  | DwC |  | description ¦ field_type
sampleMetadata | Sample collection | verbatimEventDate | Sample collection date before formatting | O | Optional |  | string |  |  |  | 23-January-2008 |  | DwC |  | description
sampleMetadata | Sample collection | verbatimEventTime | Sample collection time before formatting to ISO 8601, or at the local time (if eventDate time samp has been converted to UTC time) | O | Optional |  | string |  |  |  | 10:23 |  | New
sampleMetadata | Sample collection | verbatimLatitude | The original latitude in any format (i.e. deg/min/sec, UTM) before converting to decimal degrees and WGS84. verbatimCoordinateSystem and verbatimSRS should be stored as well. | O | Optional |  | string |  |  |  | 41 05 54.03S |  | DwC |  | description
sampleMetadata | Sample collection | verbatimLongitude | The original longitude in any format (i.e. deg/min/sec, UTM) before converting to decimal degrees and WGS84. verbatimCoordinateSystem and verbatimSRS should be stored as well. | O | Optional |  | string |  |  |  | 121d 10' 34" W |  | DwC |  | description
sampleMetadata | Sample collection | verbatimSRS | The ellipsoid, geodetic datum, or spatial reference system (SRS) upon which coordinates given in verbatimLatitude and verbatimLongitude are based. | O | Optional |  | controlled vocabulary |  |  | WGS84 ¦ NAD84 ¦ NAD27 ¦ GDA94 ¦ GDA2020 ¦ ETRS89 ¦ JGD2000 ¦ other: | NAD84 |  | DwC |  | description ¦ field_type
sampleMetadata | Sample storage | dna_store_loc | Location at which extracted DNA was stored, usually name of a specific freezer/room | O | Optional |  | string |  |  |  | UWA, IOMRC, Lv4 -80Freezer2 |  | New
sampleMetadata | Sample storage | samp_store_dur | Duration for which the sample was stored prior to DNA extraction, written in ISO 8601 format (i.e., P14D for 14 days period. P1Y6M for 1 year and 6 months period. P1W/4W for some time between 1 and 4 weeks). Note: If a sample was processed before DNA extraction (e.g., filtration, homogenisation, subsampling), enter the storage duration before the process here, and the storage duration of the processed sample under the term prepped_samp_store_temp. | HR | Highly recommended |  | string |  | PnYnMnWnDTnHnMnS |  | P1Y6M | ALL | MIxS |  | description
sampleMetadata | Sample storage | samp_store_loc | Location at which sample was stored, usually name of a specific freezer/room | O | Optional |  | string |  |  |  | UWA, IOMRC, Lv4 -80Freezer1 |  | MIxS
sampleMetadata | Sample storage | samp_store_method_additional | Additional information on sample storage method, that has not been shared in the given record. | O | Optional |  | string |  |  |  | The sample was thawed overnight at room temperature prior to DNA extraction | ALL | New
sampleMetadata | Sample storage | samp_store_sol | Solution within which the sample was stored. Note: If a sample was processed before DNA extraction (e.g., filtration, homogenisation, subsampling), enter the storage solution before the process here, and the storage solution of the processed sample under the term prepped_samp_store_sol. | HR | Highly recommended |  | controlled vocabulary |  |  | ethanol ¦ sodium acetate ¦ longmire ¦ lysis buffer ¦ none ¦ other: | none | ALL | MIxS |  | description ¦ field_type
sampleMetadata | Sample storage | samp_store_temp | Temperature at which the sample was stored. Enter either the fixed term "ambient temperature" or a numeric value. Note: If a sample was processed before DNA extraction (e.g., filtration, homogenisation, subsampling), enter the storage temperature before the process here, and the storage temperature of the processed sample (i.e., filter paper) under a term prepped_samp_store_temp. Unit = degree Celsius | HR | Highly recommended |  | string | degree Celsius |  |  | -80.0 | ALL | MIxS |  | description ¦ field_type
sampleMetadata | Sample preparation | filter_diameter | Diameter of a filter if circular. Unit = mm | R | Recommended |  | float | mm |  |  | 47.0 | Water ¦ Air | Thalinger et al., 2021
sampleMetadata | Sample preparation | filter_material | Material of filter | HR | Highly recommended |  | controlled vocabulary |  |  | cellulose ¦ cellulose ester ¦ glass fiber ¦ thermoplastic membrane ¦ track etched polycarbonate ¦ nylon ¦ polyethersulfone ¦ other: | cellulose ester | Water ¦ Air | NMDC |  | description ¦ field_type
sampleMetadata | Sample preparation | filter_name | Commercial names and brand of filter | R | Recommended |  | string |  |  |  | Merck Sterivex | Water ¦ Air | New
sampleMetadata | Sample preparation | filter_passive_active_0_1 | Whether water/ air samples were collected using active (i.e. pump, fan) or passive (i.e. submerged materials in water/air) filtration approach. Active = 1, Passive = 0 | R | Recommended |  | string |  |  |  | 1 | Water ¦ Air | New
sampleMetadata | Sample preparation | filter_surface_area | Surface area of a filter. Unit = mm2 | R | Recommended |  | float | mm2 |  |  | 1734.94 | Water ¦ Air | Thalinger et al., 2021
sampleMetadata | Sample preparation | precip_chem_prep | Chemicals used in precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed | HR | Highly recommended |  | controlled vocabulary |  |  | ethanol ¦ isopropanol ¦ sodium chloride ¦ other: | ethanol ¦ sodium chloride | Water ¦ Soil ¦ Sediment | Thalinger et al., 2021 |  | field_name ¦ description
sampleMetadata | Sample preparation | precip_force_prep | Centrifuge force used in precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed. Unit = x g | HR | Highly recommended |  | float | x g |  |  | 20000.0 | Water ¦ Soil ¦ Sediment | Thalinger et al., 2021 |  | field_name ¦ description
sampleMetadata | Sample preparation | precip_temp_prep | Temperature used in precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed. Unit = degree Celsius | HR | Highly recommended |  | string | degree Celsius |  |  | 10.0 | Water ¦ Soil ¦ Sediment | Thalinger et al., 2021 |  | field_name ¦ description
sampleMetadata | Sample preparation | precip_time_prep | Duration of precipitation at the sample preparation step prior to DNA extraction, if precipitation was performed. Unit = minute | HR | Highly recommended |  | float | minute |  |  | 45.0 | Water ¦ Soil ¦ Sediment | Thalinger et al., 2021 |  | field_name ¦ description
sampleMetadata | Sample preparation | prefilter_material | Material used to pre-filter/pre-sort the sample | O | Optional |  | string |  |  |  | nylon | Water ¦ Air | New
sampleMetadata | Sample preparation | prep_method_additional | Additional information on sample preparation, storage and preservation prior to DNA extraction, that has not been shared in the given record | O | Optional |  | string |  |  |  | See Villacorta-Rath et al. (2020) (doi.org/10.1002/edn3.114) for the detailed precipitation protocols. ATL lysis buffer was used for prepped_samp_store_sol. Prepped_samp_store_temp was ambient, average of 22 degree Celsius | ALL | New
sampleMetadata | Sample preparation | prepped_samp_store_dur | Duration for which the prepared sample was stored prior to DNA extraction, written in ISO 8601 format (i.e., P14D for 14 days period. P1Y6M for 1 year and 6 months period. P1W/4W for some time between 1 and 4 weeks). Note: The storage duration of the original environmental sample (e.g., water, soil) should be recorded under samp_store_dur, while the current term is for the "processed" sample such as filter paper, homogenised and subsampled sediment, prepared for DNA extraction. | R | Recommended |  | string |  | PnYnMnWnDTnHnMnS |  | P1Y6M | ALL | New
sampleMetadata | Sample preparation | prepped_samp_store_sol | Solution within which the prepared sample was stored prior to DNA extraction. Note: The storage solution of the original environmental sample (e.g., water, soil) should be recorded under samp_store_sol, while the current term is for the "processed" sample such as filter paper, homogenised and subsampled sediment, prepared for DNA extraction. | R | Recommended |  | controlled vocabulary |  |  | ethanol ¦ sodium acetate ¦ longmire ¦ lysis buffer ¦ none ¦ other: | lysis buffer | ALL | New
sampleMetadata | Sample preparation | prepped_samp_store_temp | Temperature at which the prepared sample was stored prior to DNA extraction. Record either 'ambient' or a numeric value in degree Celsius. Note: The storage temperature of the original environmental sample (e.g., water, soil) should be recorded under samp_store_temp, while the current term is for the "processed" sample such as filter paper, homogenised and subsampled sediment, prepared for DNA extraction. Unit = degree Celsius | R | Recommended |  | string | degree Celsius |  |  | ambient temperature | ALL | Thalinger et al., 2021 |  | field_name ¦ description ¦ field_type
sampleMetadata | Sample preparation | pump_flow_rate | Pump flow rate of filtration if applicable | O | Optional |  | float |  |  |  | 0.2 | Water ¦ Air | New
sampleMetadata | Sample preparation | pump_flow_rate_unit | Unit for pump_flow_rate | O | Optional |  | controlled vocabulary |  |  | m3/s ¦ m3/min ¦ m3/h ¦ L/s ¦ L/min ¦ L/h ¦ other: | m3/s | Water ¦ Air | New
sampleMetadata | Sample preparation | samp_mat_process | Any processing applied to the sample during or after retrieving the sample from environment (i.e. sieving, filtration, precipitation, homogenising, subsampling). | R | Recommended |  | string |  |  |  | Water samples were pre-filtered using a sieve (200 micrometers), then filtered using a peristaltic pump (pore size 0.45 micrometers). | ALL | MIxS ¦ DNA-derived data extension |  | description
sampleMetadata | Sample preparation | size_frac | Filtering pore size used in sample filtration. Unit = µm | HR | Highly recommended |  | float | µm |  |  | 0.22 | Water ¦ Air | MIxS ¦ DNA-derived data extension
sampleMetadata | Sample preparation | size_frac_low | Refers to the mesh/pore size used to pre-filter/pre-sort the sample. Materials larger than the size threshold are excluded from the sample. Unit = µm | HR | Highly recommended |  | float | µm |  |  | 20.0 | Water ¦ Air | MIxS |  | field_type
sampleMetadata | Sample preparation | stationed_sample_dur | Duration of on-site, stationed sampling (i.e., the filter deployment period). This term is recommended to be recorded when filters are deployed directly in the environment, such as during airborne eDNA sampling or when filters are submerged in water for a certain period). The duration should be recorded using ISO 8601 duration format (P<date>T<time>). For example, P1Y1M1DT1H1M1.1S represents 1 year, 1 month, 1 day, 1 hour, 1 minute, 1 second, and 100 milliseconds | R | Recommended |  | string |  | PnYnMnWnDTnHnMnS |  | T1H30M | Water ¦ Air | New
sampleMetadata | Nucleic acid extraction | concentration | Concentration of total DNA after extraction | R | Recommended |  | float |  |  |  | 67.5 |  | DNA-derived data extension |  | description
sampleMetadata | Nucleic acid extraction | concentration_method | Description of method/instrument used for concentration measurement | O | Optional |  | string |  |  |  | Qubit 4.0 Fluorometer (Invitrogen) |  | DNA-derived data extension |  | field_name ¦ description
sampleMetadata | Nucleic acid extraction | concentration_unit | The unit of total DNA concentration after extraction | R | Recommended |  | controlled vocabulary |  |  | ng/µl ¦ copies/µl ¦ other: | ng/µl |  | New
sampleMetadata | Nucleic acid extraction | date_ext | Date of nucleic acid extraction, written in ISO 8601 format | O | Optional |  | string |  |  |  | 2008-01-23T19:23-06:00 |  | New
sampleMetadata | Nucleic acid extraction | dna_cleanup_0_1 | Was the extracted DNA cleaned/purified? Yes = 1, No =0 | R | Recommended |  | string |  |  |  | 1 |  | New
sampleMetadata | Nucleic acid extraction | dna_cleanup_method | A description of DNA clean-up method. Provide the name of a commercial kit if used. | R | Recommended | If dna_cleanup_0_1 is 1 | string |  |  |  | Zymo DNA Clean & Concentrator Kits |  | New
sampleMetadata | Nucleic acid extraction | nucl_acid_ext | A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the material separation to recover the nucleic acid fraction from a sample. If a custom extraction method has been developed and applied to the samples within this dataset, it is Highly recommended to make the SOP available and provide the link here. | HR | Highly recommended |  | string |  |  |  | https://www.qiagen.com/us/resources/resourcedetail?id=5a0517a7-711d-4085-8a28-2bb25fab828a&lang=en |  | MIxS ¦ DNA-derived data extension |  | description
sampleMetadata | Nucleic acid extraction | nucl_acid_ext_kit | The name of the extraction kit used to recover the nucleic acid fraction of an input material | HR | Highly recommended |  | string |  |  |  | Qiagen PowerSoil Kit |  | MIxS |  | description
sampleMetadata | Nucleic acid extraction | nucl_acid_ext_lysis | The approach used to lyse DNA-containing material. For example, physical methods may involve freeze-thaw cycles or the uses of bead mills, homogenizers and sonicators. Thermal methods apply high temperatures, often used in combination with other methods. | R | Recommended |  | controlled vocabulary |  |  | physical ¦ chemical ¦ enzymatic ¦ thermal ¦ osmotic ¦ other: | enzymatic |  | New
sampleMetadata | Nucleic acid extraction | nucl_acid_ext_method_additional | Additional information on nucleic acid extraction method, that has not been shared in the given record. | O | Optional |  | string | [5 empty] | New
sampleMetadata | Nucleic acid extraction | nucl_acid_ext_modify | Description of modification made from a commercial or established protocol (nucl_acid_ext), if made. | R | Recommended |  | string |  |  |  | Sample was lysed in 540 µL of ATL buffer and 60 µL of Proteinase K, and eluted in 100 µL of buffer EB, instead of 180 µL, 20 µL and 200 µL respectively |  | Thalinger et al., 2021 |  | field_name
sampleMetadata | Nucleic acid extraction | nucl_acid_ext_sep | The approach used to separate DNA from a mixture. | R | Recommended |  | controlled vocabulary |  |  | column-based ¦ magnetic beads ¦ centrifugation ¦ precipitation ¦ phenol chloroform ¦ gel electrophoresis ¦ other: | column-based |  | New
sampleMetadata | Nucleic acid extraction | pool_dna_num | The number of extracts that were pooled in to one sample before PCR | R | Recommended |  | string |  |  |  | 2 |  | MIxS |  | description ¦ field_type ¦ field_name
sampleMetadata | Nucleic acid extraction | ratioOfAbsorbance260_280 | Ratio of absorbance at 260 nm and 230 nm assessing DNA purity (mostly secondary measure, indicates mainly EDTA, carbohydrates, phenol). | O | Optional |  | float |  |  |  | 2.1 |  | DNA-derived data extension |  | description
sampleMetadata | Nucleic acid extraction | samp_vol_we_dna_ext | Volume or mass of sample or subsamples that was processed for DNA extraction. For example, if 1L of water was collected and filtered, and half of the filter paper was used for DNA extraction, the entries of samp_size and samp_vol_we_dna_ext should be 1L and 500mL respectively. Specify the unit under the term samp_vol_ext_unit. | HR | Highly recommended |  | float | select from samp_vol_ext_unit |  |  | 1500.0 |  | MIxS ¦ DNA-derived data extension |  | description
sampleMetadata | Nucleic acid extraction | samp_vol_we_dna_ext_unit | Unit for samp_vol_we_dna_ext | HR | Highly recommended |  | controlled vocabulary |  |  | mL ¦ L ¦ mg ¦ g ¦ kg ¦ cm2 ¦ m2 ¦ cm3 ¦ m3 ¦ other: | mL |  | New
ampData ¦ stdData | PCR | technical_rep_id | An integer uniquely identifying a specific PCR technical replicate within a sample. | M | Mandatory |  | string |  |  |  | 1 |  | New
experimentRunMetadata ¦ ampData ¦ stdData | PCR | pcr_plate_id | PCR plate ID. This identifier is particularly crucial when location-specific standard curves are employed for targeted assay detections, as it ensures a linkage between the standards and the corresponding eDNA samples. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. | M | Mandatory | If assay_type = targeted | string |  |  |  | 20240802_pcr1 |  | New
projectMetadata | PCR | ampliconSize | The length of the amplicon in basepairs EXCLUDING the primers, adapters and MIDs. A range can be entered separated by a hyphen"-" (i.e. 140-160). If using Excel, format the cell as text to prevent it from being auto-formatted as a date. Unit = basepairs | HR | Highly recommended |  | string | basepairs |  |  | 83 |  | DNA-derived data extension ¦ MIQE |  | description
projectMetadata | PCR | amplificationReactionVolume | The total PCR reaction volume. Unit = µL | R | Recommended |  | float | µL |  |  | 22.0 |  | DNA-derived data extension ¦ MIQE
projectMetadata | PCR | annealingTemp | The reaction temperature during the annealing phase of PCR. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Unit = degree Celsius | HR | Highly recommended |  | float | degree Celsius |  |  | 60.0 |  | DNA-derived data extension ¦ MIQE
projectMetadata | PCR | assay_validation | How was the assay validated for specificity? e.g., in-silico, in-vitro, in-situ validations, sanger sequencing, repeat analysis with alternate assay, intra/inter species tests | R | Recommended |  | string |  |  |  | The assay was validated through a multi-step process, including in-silico analysis, in-vitro testing, in-situ trials, and final confirmation with Sanger sequencing. |  | New
projectMetadata | PCR | block_ref | Reference of a blocking primer. Enter "custom" if it was developed during the current project | O | Optional |  | string |  |  |  | https://doi.org/10.1038/s41598-020-60779-9 |  | New
projectMetadata | PCR | block_seq | Blocking primer sequence in the 5' to 3' direction | O | Optional |  | string |  |  |  | AGCTTTAGACACCAAGGCAGACCAT/C3/ |  | New
projectMetadata | PCR | block_taxa | Taxonomic name(s) of the organism(s) targeted by a blocking primer to prevent their DNA amplification during PCR, enabling the preferential amplification of other taxa. | O | Optional |  | string |  |  |  | Lutjanus malabaricus |  | New
projectMetadata | PCR | commercial_mm | Name, brand, and manufacture of commercial, pre-made master mix (if commercial master mix was used) | HR | Highly recommended |  | string |  |  |  | Luna® Universal qPCR Master Mix, New England Biolabs |  | MIQE
projectMetadata | PCR | custom_mm | composition of custom master mix, including the names, volumes and concentrations of additives (i.e., salts, buffers, enzyme and other components) (if custom master mix was used) | HR | Highly recommended |  | string |  |  |  | Each PCR reaction comprised: 1 x Taq Gold buffer (Applied Biosystems [ABI], USA), 2 nM MgCl2 (ABI, USA), 0.4 mg/mL BSA (Fisher Biotec, Australia), 0.25 mM dNTPs (Astral Scientific, Australia), 0.4 μM each of forward and reverse primers (Integrated DNA Technologies, Australia), 0.6 μL of 1/10,000 SYBR Green dye (Life Technologies, USA), 1 U of Taq polymerase Gold (ABI, USA), 2 μL of DNA, and made up to 25 μL with PCR grade water |  | MIQE
projectMetadata | PCR | inhibition_check | Description of method applied to detect inhibition and any adjustments made to improve PCR performance, such as sample dilution or the use of inhibitor-tolerant reagents. | O | Optional |  | string |  |  |  | The extracted DNA was tested using a serial dilution approach (undiluted, 1:10, 1:100). qPCR was performed on each dilution to evaluate amplification efficiency and inhibition. The dillution with optimal performance with reduced inhibition was selected for subsequent analysis in the workflow. |  | New
projectMetadata | PCR | inhibition_check_0_1 | Was the inhibition checked? Yes = 1, No = 0 | O | Optional |  | string |  |  |  | 1 |  | New
projectMetadata | PCR | nucl_acid_amp | A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the nucleic acid amplification | R | Recommended |  | string |  |  |  | https://phylogenomics.me/protocols/16s-pcr-protocol/ |  | MIxS |  | description
projectMetadata | PCR | pcr_0_1 | Was PCR performed in the study? Yes = 1, No (pcr-free approaches including shotgun metagenomics, Nanopore) = 0 | M | Mandatory |  | string |  |  |  | 1 |  | New
projectMetadata | PCR | pcr_analysis_software | The program used to analyse the PCR runs. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. | O | Optional |  | string |  |  |  | BIO-RAD QuantaSoft |  | DNA-derived data extension |  | description
projectMetadata | PCR | pcr_cond | Description of reaction conditions and components of PCR. The recommended format is ´initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles´, where possible. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_cond in the library preparation/sequencing section. | HR | Highly recommended |  | string |  | initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles |  | initial denaturation:94_3;annealing:50_1;elongation:72_1.5;final elongation:72_10;35 |  | MIxS ¦ DNA-derived data extension |  | description
projectMetadata | PCR | pcr_cycles | Number of PCR cycles. If two-step PCR was applied for a metabarcoding approach, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. Unit = cycles | HR | Highly recommended |  | string | cycles |  |  | 40 |  | NMDC |  | description
projectMetadata | PCR | pcr_dna_vol | Volume of DNA added in each PCR reaction. Unit = µL | HR | Highly recommended |  | float | µL |  |  | 2.0 |  | MIQE
projectMetadata | PCR | pcr_method_additional | Additional information on PCR or PCR-free method, that has not been shared in the given record (i.e. multiplexing, hybridisation, CRISPR-Cas). If two-step PCR was applied, enter the second PCR protocol under the term pcr2_* in the library preparation/sequencing section. | O | Optional |  | string |  |  |  | Blocking primer (TAGTATAGCTACGAAGCCGAGGAGG-c3) (Wilcox et al. 2014, DOI 10.1007/s12686-013-0113-4) was applied to prevent elongation of a closely related species |  | New
projectMetadata | PCR | pcr_primer_conc_forward | The stock concentration of the forward PCR primer (pcr_primer_forward). This refers specifically to the concentration of the primer stock solution, not the final concentration in the PCR reaction. For example, using 1 µL of a 5 µM (stock concentration) primer in a 25 µL reaction results in a final concentration of 0.2 µM. Hence the entry for this term would be 5. Unit = µM | R | Recommended |  | float | µM |  |  | 5.0 |  | MIQE
projectMetadata | PCR | pcr_primer_conc_reverse | The stock concentration of the reverse PCR primer (pcr_primer_reverse). This refers specifically to the concentration of the primer stock solution, not the final concentration in the PCR reaction. For example, using 1 µL of a 5 µM (stock concentration) primer in a 25 µL reaction results in a final concentration of 0.2 µM. Hence the entry for this term would be 5. Unit = µM | R | Recommended |  | float | µM |  |  | 5.0 |  | MIQE
projectMetadata | PCR | pcr_primer_forward | Forward PCR primer (5' - 3') that were used to amplify the sequence of the targeted gene. The primer sequence should NOT contain MIDs and adapter sequences, and should be reported in uppercase letters. If multiple forward primers are present in a single PCR reaction, either report them separately in separate submissions (with separate OTU tables for each primer set), or list the primers here separated by pipe ( ¦ ) and provide one OTU table resulting from all the primers applied here. The latter is recommended only when the multiple primers target the same gene region and thus a single OTU table was generated from the multiplexed PCR. This term is required except for PCR free methods. | M | Mandatory | If pcr_0_1 is 1 | string |  |  |  | GGWACWGGWTGAACWGTWTAYCCYCC |  | DNA-derived data extension |  | description
projectMetadata | PCR | pcr_primer_name_forward | Name of the pcr_primer_forward. If multiple primers are listed in pcr_primer_forward, list the names respectively, separated by pipe ( ¦ ). | R | Recommended |  | string |  |  |  | mlCOIintF |  | DNA-derived data extension |  | description
projectMetadata | PCR | pcr_primer_name_reverse | Name of the pcr_primer_reverse. If multiple primers are listed in pcr_primer_reverse, list the names respectively, separated by pipe ( ¦ ). | R | Recommended |  | string |  |  |  | mlCOIintR |  | DNA-derived data extension |  | description
projectMetadata | PCR | pcr_primer_reference_forward | Reference (i.e. DOI) of the pcr_primer_forward. If multiple primers are listed in pcr_primer_forward, list the references respectively, separated by pipe ( ¦ ). | HR | Highly recommended |  | string |  |  |  | https://doi.org/10.1186/1742-9994-10-34 |  | DNA-derived data extension |  | Forward and reverse separated
projectMetadata | PCR | pcr_primer_reference_reverse | Reference (i.e. DOI) of the pcr_primer_reverse. If multiple primers are listed in pcr_primer_reverse, list the references respectively, separated by pipe ( ¦ ). | HR | Highly recommended |  | string |  |  |  | https://doi.org/10.1186/1742-9994-10-34 |  | DNA-derived data extension |  | Forward and reverse separated
projectMetadata | PCR | pcr_primer_reverse | Reverse PCR primer (5' - 3') that were used to amplify the sequence of the targeted gene. The primer sequence should NOT contain MIDs and adapter sequences, and should be reported in uppercase letters. If multiple reverse primers are present in a single PCR reaction, either report them separately in separate submissions (with separate OTU tables for each primer set), or list the primers here separated by pipe ( ¦ ) and provide one OTU table resulting from all the primers applied here. The latter is recommended only when the multiple primers target the same gene region and thus a single OTU table was generated from the multiplexed PCR. This term is required except for PCR free methods. | M | Mandatory | If pcr_0_1 is 1 | string |  |  |  | GGRGGRTASACSGTTCASCCSGTSCC |  | DNA-derived data extension |  | description
projectMetadata | PCR | pcr_primer_vol_forward | Volume of pcr_primer_forward per reaction. Unit = µL | R | Recommended |  | float | µL |  |  | 2.0 |  | New
projectMetadata | PCR | pcr_primer_vol_reverse | Volume of pcr_primer_reverse per reaction. Unit = µL | R | Recommended |  | float | µL |  |  | 2.0 |  | New
projectMetadata | PCR | pcr_rep | The number of PCR technical replicates. For metabarcoding, each replicate should employ an identical MID. | HR | Highly recommended |  | string |  |  |  | 3 |  | New
projectMetadata | PCR | probeQuencher | Type of quencher used. The quencher molecule quenches the fluorescence emitted by the fluorophore when excited by the cycler’s light source As long as fluorophore and the quencher are in proximity, quenching inhibits any fluorescence signals. | HR | Highly recommended |  | controlled vocabulary |  |  | Zero-End Quencher (ZEN) ¦ TAMRA ¦ lowa Black ¦ Minor Groove Binder (MGB) ¦ Black Hole Quencher (BHQ) ¦ other: | MGB |  | DNA-derived data extension ¦ MIQE |  | field_type
projectMetadata | PCR | probeReporter | Type of fluorophore (reporter) used. Probe anneals within amplified target DNA. Polymerase activity degrades the probe that has annealed to the template, and the probe releases the fluorophore from it and breaks the proximity to the quencher, thus allowing fluorescence of the fluorophore. | HR | Highly recommended |  | string |  |  |  | FAM |  | DNA-derived data extension ¦ MIQE
projectMetadata | PCR | probe_conc | The stock concentration of the probe if applicable. This refers specifically to the concentration of the probe stock solution, not the final concentration in the PCR reaction. For example, using 1 µL of a 5 µM (stock concentration) probe in a 25 µL reaction results in a final concentration of 0.2 µM. Hence the entry for this term would be 5. Unit = µM | HR | Highly recommended |  | float | nM |  |  | 100.0 |  | MIQE
projectMetadata | PCR | probe_ref | Reference (i.e. DOI) of the probe_seq | HR | Highly recommended |  | string |  |  |  | 10.1007/s00227-017-3141-x |  | New
projectMetadata | PCR | probe_seq | If applicable, probe sequence in the 5' to 3' direction | HR | Highly recommended |  | string |  |  |  | CTTGTTTGTTTGATCAATTC |  | New
projectMetadata | PCR | targetTaxonomicAssay | Taxa or species name targeted by the primers, probes, and/or other approaches applied in the PCR. | M | Mandatory | If pcr_0_1 is 1. Else, recommended | string |  |  |  | verteberate |  | New
projectMetadata | PCR | targetTaxonomicScope | The taxonomic group(s) targeted in the study. This can differ from the targetTaxonomicAssay. For example, the targetTaxonomicAssay may be Chordata while the targetTaxonomicScope is Chondrichthyes (bony fish, sharks and rays). | R | Recommended |  | string |  |  |  | teleost |  | Humboldt extension
projectMetadata | PCR | target_gene | Targeted gene or locus name for marker gene studies | HR | Highly recommended |  | controlled vocabulary |  |  | 12S rRNA (SSU mitochondria) ¦ 16S rRNA (LSU mitochondria) ¦ 16S rRNA (SSU prokaryote) ¦ 23S rRNA (LSU prokaryote) ¦ 18S rRNA (SSU eukaryote) ¦ 28S rRNA (LSU eukaryote) ¦ rbcL ¦ CytB ¦ COI ¦ COII ¦ COIII ¦ nifH ¦ ITS ¦ ND1 ¦ ND2 ¦ ND3 ¦ ND4 ¦ ND5 ¦ ND6 ¦ amoA ¦ rpoB ¦ rpoC1 ¦ rpoC2 ¦ matK ¦ trnH ¦ trnL ¦ psbK ¦ D-loop ¦ other: | COI |  | MIxS ¦ DNA-derived data extension |  | field_type
projectMetadata | PCR | target_subfragment | Name of subfragment of a gene or locus. Important to e.g. identify special regions on marker genes like V6 on 16S rRNA. | O | Optional |  | string |  |  |  | V6 |  | MIxS ¦ DNA-derived data extension
projectMetadata | PCR | thermocycler | The manufacturer and model of a thermocycler used | O | Optional |  | string |  |  |  | Thermo Fisher Scientific, QuantStudio 6 |  | MIQE
projectMetadata ¦ sampleMetadata ¦ ampData ¦ experimentRunMetadata ¦ stdData ¦ eLowQuantData | PCR | assay_name | A brief, concise identifier for assay with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'assay_name'. | M | Mandatory |  | string |  |  |  | MiFish (metabarcoding) / eSERU5 (qPCR) |  | New
ampData | Targeted assay detection | estimatedNumberOfCopies_method | Method to output estimatedNumberOfCopies | R | Recommended |  | controlled vocabulary |  |  | Ct/Cq with standard curve ¦ Ct/Cq with standard bionomial data ¦ direct output from the PCR instrument used ¦ gel fluorescence intensities ¦ other: | Ct/Cq with standard curve ¦ Ct/Cq with standard bionomial data |  | MIQE
ampData ¦ eLowQuantData | Targeted assay detection | estimatedNumberOfCopies | Estimated concentration of target molecules. Describe the approach taken to estimate it under the term estaimtedNumberOfCopies_method. | R | Recommended | If assay_type = targeted & pcr_0_1 = 1 | float |  |  |  | 35.92426489978709 |  | DNA-derived data extension ¦ MIQE |  | description
ampData ¦ eLowQuantData | Targeted assay detection | estimatedNumberOfCopies_error | The measure of variability (e.g., standard error) associated with the estimatedNumberOfCopies value, applicable when the estimatedNumberOfCopies represents an average calculated from multiple technical replicates per sample. | R | Recommended |  | float |  |  |  | 0.14 |  | New
ampData ¦ eLowQuantData | Targeted assay detection | estimatedNumberOfCopies_error_type | The specific type of variability measure (e.g., standard error, standard deviation) used to describe estimatedNumberOfCopies_error. | R | Recommended |  | controlled vocabulary |  |  | standard error ¦ standard deviation ¦ 95% confidence interval ¦ other: | standard error |  | New
ampData ¦ eLowQuantData | Targeted assay detection | estimatedNumberOfCopies_unit | Unit for estimatedNumberOfCopies | R | Recommended | If assay_type = targeted & pcr_0_1 = 1 | controlled vocabulary |  |  | copies/reaction ¦ copies/µL of DNA extract ¦ copies/µL of reaction ¦ ng/reaction ¦ ng/µL of DNA extract ¦ ng/µL of reaction ¦ other: | other:copies/mg of sediment sample |  | New
ampData ¦ stdData | Targeted assay detection | quantificationCycle | The number of cycles required for the fluorescent signal to cross a given value threshold above the baseline for each technical replicate. Quantification cycle (Cq), threshold cycle (Ct), crossing point (Cp), and take-off point (TOP) refer to the same value from the real-time instrument. Use of quantification cycle (Cq), is preferable according to the RDML (Real-Time PCR Data Markup Language) data standard (http://www.rdml.org). Use "NA" (not zero) to indicate no amplification occurred. Unit = Cycle | M | Mandatory | If assay_type = targeted & amp_vis_method = qPCR | float | cycle |  |  | 37.9450950622558 |  | DNA-derived data extension ¦ MIQE |  | description
ampData ¦ stdData | Targeted assay detection | rfu | Relative Fluorescence Units (RFU). No unit | O | Optional |  | float | No unit |  |  | 7862.41 |  | New
eLowQuantData | Targeted assay detection | num_detect | Number of detection using the eLow Quant approach (described in DOI: 10.1002/edn3.220) | HR | Highly recommended |  | string |  |  |  | 2 |  | New
projectMetadata | Targeted assay detection | amp_vis_method | Amplicon visualisation method (i.e., qPCR, dPCR, gel electrophoresis, PCR capillary electrophoresis (PCR-CE), Loop-mediated isothermal amplification (LAMP)) to determine the detection of a targeted taxon | M | Mandatory | If assay_type = targeted & pcr_0_1 = 1 | controlled vocabulary |  |  | qPCR ¦ dPCR ¦ gel electrophoresis ¦ CE-PCR ¦ LAMP ¦ other: | qPCR |  | New
projectMetadata | Targeted assay detection | automaticBaselineValue | Whether the baseline value was set by the instrument (1) or manually (0). | O | Optional |  | string |  |  |  | 1 |  | DNA-derived data extension ¦ MIQE |  | description ¦ field_type
projectMetadata | Targeted assay detection | automaticThresholdQuantificationCycle | Whether the threshold was set by the instrument (1) or manually (0). | O | Optional |  | string |  |  |  | 1 |  | DNA-derived data extension ¦ MIQE |  | description ¦ field_type
projectMetadata | Targeted assay detection | baselineValue | The number of cycles when fluorescence signal from the target amplification is below background fluorescence not originated from the real target amplification. Unit = cycle | O | Optional |  | string | cycle |  |  | 15 |  | DNA-derived data extension ¦ MIQE
projectMetadata | Targeted assay detection | detection_criteria | Criteria to determine positive detection. For example, a certain number of positive amplifications per sample, sanger sequencing of amplicons | M | Mandatory | If assay_type = targeted & pcr_0_1 = 1 | string |  |  |  | The minimum number of PCR replicates of 2 with positive amplification |  | Thalinger et al., 2021 |  | field_name ¦ description
projectMetadata | Targeted assay detection | lod_method | Method used for determining LOD e.g., DOI of a published procedure | R | Recommended |  | string |  |  |  | DOI: 10.1002/edn3.220 |  | New
projectMetadata | Targeted assay detection | loq_method | Method used for determining LOQ e.g., DOI of a published procedure | R | Recommended |  | string |  |  |  | DOI: 10.1002/edn3.220 |  | New
projectMetadata | Targeted assay detection | pcr_assay_lod | Assay's limit of detection (LOD) (the lowest amount of target taxon DNA that can be detected with a defined level of confidence). | M | Mandatory | If assay_type = targeted & pcr_0_1 = 1 | float |  |  |  | 51.0 |  | DNA-derived data extension ¦ MIQE |  | field_name ¦ description
projectMetadata | Targeted assay detection | pcr_assay_lod_LL | Lower 95% confidence limit for LOD for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_lod_unit | R | Recommended |  | float | same as pcr_assay_lod_unit |  |  |  |  | New
projectMetadata | Targeted assay detection | pcr_assay_lod_UL | Upper 95% confidence limit for LOD for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_lod_unit | R | Recommended |  | float | same as pcr_assay_lod_unit |  |  |  |  | New
projectMetadata | Targeted assay detection | pcr_assay_lod_techreps | The number of technical replicates that the LOD is applied to. See DOI: 10.1002/edn3.220 | R | Recommended |  | string |  |  |  | 8 |  | New
projectMetadata | Targeted assay detection | pcr_assay_lod_unit | Unit for pcr_assay_lod | M | Mandatory | If assay_type = targeted & pcr_0_1 = 1 | controlled vocabulary |  |  | copies/reaction ¦ copies/µL ¦ ng/reaction ¦ ng/µL ¦ other: | ng/µL |  | New
projectMetadata | Targeted assay detection | pcr_assay_loq | Assay's limit of quantification (LOQ) (the lowest amount of target taxon DNA that can be quantitatively determined with a stated precision under the stated experimental conditions). | M | Mandatory | If assay_type = targeted & pcr_0_1 = 1 | float |  |  |  | 184.0 |  | DNA-derived data extension ¦ MIQE |  | field_name ¦ description
projectMetadata | Targeted assay detection | pcr_assay_loq_LL | Lower 95% confidence limit for LOQ for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_loq_unit | R | Recommended |  | float | same as pcr_assay_loq_unit |  |  |  |  | New
projectMetadata | Targeted assay detection | pcr_assay_loq_UL | Upper 95% confidence limit for LOQ for a given number of technical replicates. See DOI: 10.1002/edn3.220. Unit = same as pcr_assay_loq_unit | R | Recommended |  | float | same as pcr_assay_loq_unit |  |  |  |  | New
projectMetadata | Targeted assay detection | pcr_assay_loq_techreps | The number of technical replicates that the LOQ is applied to. See DOI: 10.1002/edn3.220 | R | Recommended |  | string |  |  |  | 8 |  | New
projectMetadata | Targeted assay detection | pcr_assay_loq_unit | unit for pcr_assay_loq | M | Mandatory | If assay_type = targeted & pcr_0_1 = 1 | controlled vocabulary |  |  | copies/reaction ¦ copies/µL ¦ ng/reaction ¦ ng/µL ¦ other: | ng/µL |  | New
projectMetadata | Targeted assay detection | std_seq | DNA sequences of standard | R | Recommended |  | string |  |  |  | GTCTCTCCCTGTATATCGTCATGACATCTTCAGCCTTCCTCACATTAAAAACCAACAACTCTTTAACCATCAATACTCTCGCAACTTCATGAACTAAATCCCGACCCTTGCCGCATTAACCGCTCT |  | New
projectMetadata | Targeted assay detection | std_source | The source of standard used for standard curves | O | Optional |  | string |  |  |  | ThermoFisher |  | New
projectMetadata | Targeted assay detection | std_type | The type of standard used for standard curves | R | Recommended |  | controlled vocabulary |  |  | synthetic double-stranded DNA ¦ plasmid ¦ amplicon ¦ gDNA ¦ other: | synthetic double-stranded DNA |  | New
projectMetadata | Targeted assay detection | targeted_detection_method_additional | Additional information on Targeted assay detection method, that has not been shared in the given record. | O | Optional |  | string | [5 empty] | New
projectMetadata | Targeted assay detection | thresholdQuantificationCycle | Threshold for change in fluorescence signal between cycles. No unit. | M | Mandatory | If assay_type = targeted & amp_vis_method = qPCR | float | No unit |  |  | 0.3 |  | DNA-derived data extension ¦ MIQE
sampleMetadata | Targeted assay detection | detected_notDetected | Detection of the targeted taxon for each biological replicate, based on the specified detection criteria (detailed under the term 'detection_criteria'). Detected = 1, Not detected = 0. For projects employing multiple assays, this term should be specified separately for each assay. The term name should include the assay identifier in the format detected_notDetected_<assay_name> (e.g., detected_notDetected_eSERU5). | M | Mandatory | If assay_type = targeted | string |  |  |  | 1 |  | New
stdData | Targeted assay detection | efficiency | qPCR amplification efficiency calculated from slope. Unit = % | HR | Highly recommended |  | float | % |  |  | 95.0 |  | MIQE
stdData | Targeted assay detection | intercept | Intercept of a qPCR standard curve. This shall be specific to each pcr_plate_id. | R | Recommended |  | float |  |  |  | 39.37 |  | MIQE
stdData | Targeted assay detection | r2 | R-squared value of a qPCR standard curve. This shall be specific to each pcr_plate_id. | HR | Highly recommended |  | float |  |  |  | 0.9867 |  | MIQE
stdData | Targeted assay detection | slope | Slope of a qPCR standard curve. This shall be specific to each pcr_plate_id. | R | Recommended |  | float |  |  |  | -3.26 |  | MIQE
stdData | Targeted assay detection | std_conc | Input quantity of qPCR standard DNA | M | Mandatory | if samp_category = PCR standard | float |  |  |  | 2500.0 |  | New
stdData | Targeted assay detection | std_conc_unit | Unit for input quantity of qPCR standard DNA | M | Mandatory | if samp_category = PCR standard | controlled vocabulary |  |  | copies/reaction ¦ copies/µL of DNA extract ¦ copies/µL of reaction ¦ ng/reaction ¦ ng/µL of DNA extract ¦ ng/µL of reaction ¦ other: |  |  | New
experimentRunMetadata | Library preparation sequencing | associatedSequences | A list (concatenated and separated) of identifiers (publication, global unique identifier, URI) of genetic sequence information associated with the samp_name | R | Recommended |  | string |  |  |  | https://www.ncbi.nlm.nih.gov/sra/SRR26148187 ¦ https://www.ncbi.nlm.nih.gov/biosample/SAMN37516094 ¦ https://www.ncbi.nlm.nih.gov/bioproject/PRJNA887898 |  | DwC |  | description
experimentRunMetadata | Library preparation sequencing | checksum_filename | The checksum of the forward sequence reads file (filename), used to verify the integrity and identity of the corresponding data file | R | Recommended |  | string |  |  |  | e61e08bfd3ad5eb5d6e7da9e95b5feed |  | New
experimentRunMetadata | Library preparation sequencing | checksum_filename2 | The checksum of the reverse sequence reads file (filename2), used to verify the integrity and identity of the corresponding data file | R | Recommended |  | string |  |  |  | b3ea95ec13dae594bcb292dcf1b1ac7f |  | New
experimentRunMetadata | Library preparation sequencing | filename | A file name of raw sequencing data. If paired end, fill filename2 for the reverse read | R | Recommended |  | string |  |  |  | S01_R1.fastq |  | New
experimentRunMetadata | Library preparation sequencing | filename2 | A raw sequencing data file name of reverse reads if lib_layout = paired end | R | Recommended |  | string |  |  |  | S01_R2.fastq |  | New
experimentRunMetadata | Library preparation sequencing | lib_conc | The concentration of the prepared library pool that was loaded onto the sequencing platform for a sequencing run. | R | Recommended |  | float |  |  |  | 10.0 |  | New
experimentRunMetadata | Library preparation sequencing | lib_conc_meth | Method to estimate lib_conc | R | Recommended |  | string |  |  |  | Qubit Fluoromete |  | New
experimentRunMetadata | Library preparation sequencing | lib_conc_unit | Unit for lib_conc | R | Recommended |  | controlled vocabulary |  |  | ng/µL ¦ nM ¦ pM ¦ other: | pM |  | New
experimentRunMetadata | Library preparation sequencing | lib_id | An identifier of a library (an amplicon of a sample with unique MIDs) | M | Mandatory | If assay_type = metabarcoding | string |  |  |  | S01_MiSeq_run20230922 |  | New
experimentRunMetadata | Library preparation sequencing | mid_forward | Forward multiplex Identifiers (MIDs), that was used to specifically tag unique samples in a sequencing run. Sequence should be reported in uppercase letters | O | Optional |  | string |  |  |  | GTGAATAT |  | MIxS ¦ DNA-derived data extension |  | Forward and reverse separated
experimentRunMetadata | Library preparation sequencing | mid_reverse | Reverse multiplex Identifiers (MIDs), that was used to specifically tag unique samples in a sequencing run. Sequence should be reported in uppercase letters | O | Optional |  | string |  |  |  | AACAAGCC |  | New |  | Forward and reverse separated
experimentRunMetadata | Library preparation sequencing | phix_perc | % of PhiX added into a library, if applicable. Unit = % | R | Recommended |  | float | % |  |  | 15.0 |  | New
experimentRunMetadata | Library preparation sequencing | seq_run_id | A brief, concise identifier for sequencing run with no spaces or special characters, ensuring machine readability. This ID will be used in file names as 'seq_run_id'. | M | Mandatory | If assay_type = metabarcoding | string |  |  |  | run20230922 |  | New
projectMetadata | Library preparation sequencing | adapter_forward | Forward sequencing adapter. The sequence should be reported in uppercase letters | R | Recommended |  | string |  |  |  | AATGATACGGCGACCACCGAGATCTACACGCT |  | MIxS ¦ DNA-derived data extension |  | Forward and reverse separated
projectMetadata | Library preparation sequencing | adapter_reverse | Reverse sequencing adapter. The sequence should be reported in uppercase letters | R | Recommended |  | string |  |  |  | CAAGCAGAAGACGGCATACGAGAT |  | New |  | Forward and reverse separated
projectMetadata | Library preparation sequencing | barcoding_pcr_appr | PCR approach for metabarcoding | HR | Highly recommended |  | controlled vocabulary |  |  | one-step PCR ¦ two-step PCR ¦ ligation-based ¦ other: | two-step PCR |  | MIEM (Klymus et al., 2024)
projectMetadata | Library preparation sequencing | checksum_method | The specific algorithm or technique used to compute the checksum (checksum_filename, checksum_filename2) for verifying data integrity. Examples include MD5, SHA-256, and CRC-32. | R | Recommended |  | controlled vocabulary |  |  | MD5 ¦ SHA-256 ¦ CRC-32 ¦ other: | MD5 |  | New
projectMetadata | Library preparation sequencing | instrument | Sequencing instrument (manufacturer and model) used. Where possible the term should be taken from the OBI list of DNA sequencers (https://ontobee.org/ontology/OBI?iri=http://purl.obolibrary.org/obo/OBI_0002750) | HR | Highly recommended |  | string |  |  |  | Illumina HiSeq 1500 [OBI_0003386] |  | INSDC
projectMetadata | Library preparation sequencing | lib_layout | Specify whether to expect single, paired, or other configuration of reads | R | Recommended |  | controlled vocabulary |  |  | paired end ¦ single end ¦ other: | paired end |  | MIxS ¦ DNA-derived data extension |  | field_type
projectMetadata | Library preparation sequencing | lib_screen | Specific enrichment or screening methods applied before and/or after creating libraries | HR | Highly recommended |  | string |  |  |  | The library was size selected using a Pippin-Prep (Sage Science, Beverly, USA), purified using the Qiaquick PCR Purification Kit (Qiagen), quantified using a Qubit (Invitrogen) and diluted to 2 nM before loading it onto a MiSeq Flow Cell |  | MIxS ¦ DNA-derived data extension
projectMetadata | Library preparation sequencing | pcr2_amplificationReactionVolume | The total PCR reaction volume in the second step PCR. Unit = µL | O | Optional |  | float | µL |  |  | 22.0 |  | New
projectMetadata | Library preparation sequencing | pcr2_analysis_software | (If bacroding_pcr_appr = "two-step PCR") The program used to analyse the PCR runs in the second step PCR | O | Optional |  | string |  |  |  | BIO-RAD QuantaSoft |  | New
projectMetadata | Library preparation sequencing | pcr2_annealingTemp | (If bacroding_pcr_appr = "two-step PCR") The reaction temperature during the annealing phase of the second step PCR. Unit = degree Celsius | R | Recommended |  | float | degree Celsius |  |  | 60.0 |  | New
projectMetadata | Library preparation sequencing | pcr2_commercial_mm | (If bacroding_pcr_appr = "two-step PCR") Name, brand, and manufacture of commercial, pre-made master mix in the second step PCR (if commercial master mix was used) | R | Recommended |  | string |  |  |  | Luna® Universal qPCR Master Mix, New England Biolabs |  | New
projectMetadata | Library preparation sequencing | pcr2_cond | (If bacroding_pcr_appr = "two-step PCR") Description of reaction conditions and components of in the second PCR. The recommended format is ´initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles´, where possible. | R | Recommended |  | string |  | initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles |  | initial denaturation:94_3;annealing:50_1;elongation:72_1.5;final elongation:72_10;35 |  | New
projectMetadata | Library preparation sequencing | pcr2_custom_mm | (If bacroding_pcr_appr = "two-step PCR") composition of custom master mix, including the names, volumes and concentrations of additives (i.e., salts, buffers, enzyme and other components) in the second step PCR (if custom master mix was used) | R | Recommended |  | string |  |  |  | Each PCR reaction comprised: 1 x Taq Gold buffer (Applied Biosystems [ABI], USA), 2 nM MgCl2 (ABI, USA), 0.4 mg/mL BSA (Fisher Biotec, Australia), 0.25 mM dNTPs (Astral Scientific, Australia), 0.4 μM each of forward and reverse primers (Integrated DNA Technologies, Australia), 0.6 μL of 1/10,000 SYBR Green dye (Life Technologies, USA), 1 U of Taq polymerase Gold (ABI, USA), 2 μL of DNA, and made up to 25 μL with PCR grade water |  | New
projectMetadata | Library preparation sequencing | pcr2_cycles | (If bacroding_pcr_appr = "two-step PCR") Number of PCR cycles in the second step PCR. Unit = cycles | R | Recommended |  | string | cycles |  |  | 40 |  | New
projectMetadata | Library preparation sequencing | pcr2_dna_vol | (If bacroding_pcr_appr = "two-step PCR") Volume of DNA added in each reaction in the second step PCR. Unit = µL | R | Recommended |  | float | µL |  |  | 2.0 |  | New
projectMetadata | Library preparation sequencing | pcr2_method_additional | (If bacroding_pcr_appr = "two-step PCR") Additional information on PCR or PCR-free method, that has not been shared in the given record in the second step PCR | O | Optional |  | string |  |  |  | Blocking primer (TAGTATAGCTACGAAGCCGAGGAGG-c3) (Wilcox et al. 2014, DOI 10.1007/s12686-013-0113-4) was applied to prevent elongation of a closely related species |  | New
projectMetadata | Library preparation sequencing | pcr2_plate_id | (If bacroding_pcr_appr = "two-step PCR") Plate ID in the second step PCR | R | Recommended |  | string |  |  |  | 20240802_pcr1 |  | New
projectMetadata | Library preparation sequencing | pcr2_thermocycler | (If bacroding_pcr_appr = "two-step PCR") The manufacturer and model of a thermocycler used in the second step PCR | O | Optional |  | string |  |  |  | Thermo Fisher Scientific, QuantStudio 6 |  | New
projectMetadata | Library preparation sequencing | platform | General sequencing platform used. | HR | Highly recommended |  | controlled vocabulary |  |  | ILLUMINA ¦ BGISEQ ¦ CAPILLARY ¦ DNBSEQ ¦ ELEMENT ¦ GENAPSYS ¦ GENEMIND ¦ HELICOS ¦ ION_TORRENT ¦ LS454 ¦ OXFORD_NANOPORE ¦ PACBIO_SMRT ¦ TAPESTRI ¦ VELA_DIAGNOSTICS ¦ ULTIMA ¦ other: | ILLUMINA |  | INSDC
projectMetadata | Library preparation sequencing | seq_kit | The name of sequencing kit | HR | Highly recommended |  | string |  |  |  | NextSeq 500/550 v2.5 |  | New
projectMetadata | Library preparation sequencing | seq_method_additional | Additional information on library preparation and sequencing method, that has not been shared in the given record. | O | Optional |  | string |  |  |  | PhiX was spiked in at 15% |  | New
projectMetadata | Library preparation sequencing | sequencing_location | The location the sequencing run was performed. Indicate the name of the lab or core facility where samples were sequenced | O | Optional |  | string |  |  |  | University of Maryland Genomics Resource Center |  | MIxS
experimentRunMetadata | Bioinformatics | input_read_count | The total number of raw sequence reads for each sample. Unit = reads | R | Recommended |  | string | reads |  |  | 20485 |  | NMDC |  | description
experimentRunMetadata | Bioinformatics | otu_num_tax_assigned | Total number of OTUs or ASVs assigned to taxa based on the study-specific thresholds for each sample | R | Recommended |  | string |  |  |  | 49 |  | New
experimentRunMetadata | Bioinformatics | output_otu_num | Total number of OTUs or ASVs for each sample | R | Recommended |  | string |  |  |  | 86 |  | New
experimentRunMetadata | Bioinformatics | output_read_count | The number of filtered sequence reads for each sample, that made it through bioinformatic filtering and used for final/subsequent analyses. Unit = reads | R | Recommended |  | string | reads |  |  | 16847 |  | NMDC |  | description
projectMetadata | Bioinformatics | bioinfo_method_additional | Additional information on bioinformatics, that has not been shared in the given record. | O | Optional |  | string |  |  |  | The min_reads_cutoff was 1 read, but singletons were kept if the same sequence was detected in multiple samples. Data was curated using r-package LULU, minimum_mismatch cutoff 90% |  | New
projectMetadata | Bioinformatics | chimera_check_method | Description of chimera check approaches (i.e. denovo, reference-based), including software and the version used | R | Recommended |  | string |  |  |  | denovo, uchime v4.1 |  | MIxS ¦ DNA-derived data extension |  | description
projectMetadata | Bioinformatics | chimera_check_param | Parameters used to filter chimera sequences if note default | R | Recommended |  | string |  |  |  | β parameter >=1 |  | New
projectMetadata | Bioinformatics | demux_max_mismatch | Maximum mismatch allowed at the index bases for demultiplexing. Unit = base pair | R | Recommended |  | string | base pair |  |  | 0 |  | New
projectMetadata | Bioinformatics | demux_tool | Software and the version used to demultiplex sequence reads | R | Recommended |  | string |  |  |  | DADA2 1.26 |  | New
projectMetadata | Bioinformatics | error_rate_cutoff | error rate threshold | R | Recommended |  | float |  |  |  | 25.0 |  | New
projectMetadata | Bioinformatics | error_rate_tool | Software to remove reads above error rate threshold | R | Recommended |  | string |  |  |  | FASTQC v0.12.1 |  | New
projectMetadata | Bioinformatics | error_rate_type | The type/unit of error rate for the error rate threshold | R | Recommended |  | controlled vocabulary |  |  | Phred score ¦ expected error rate ¦ other: | Phred score |  | New
projectMetadata | Bioinformatics | merge_min_overlap | Minimum overlaps required to merge paired end reads. Unit = base pair | R | Recommended |  | string | base pair |  |  | 12 |  | New
projectMetadata | Bioinformatics | merge_tool | Software and the version to merge paired end reads | R | Recommended |  | string |  |  |  | AdapterRemoval 2.3.3 |  | New
projectMetadata | Bioinformatics | min_len_cutoff | Minimum length threshold. Unit = base pair | R | Recommended |  | string | base pair |  |  | 120 |  | New
projectMetadata | Bioinformatics | min_len_tool | Software and the version to remove reads shorter than minimum length threshold | R | Recommended |  | string |  |  |  | OBITools3 |  | New
projectMetadata | Bioinformatics | min_reads_cutoff | minimum read counts thresholds. e.g., 10 reads, 5% relative read abundance, noise (e.g., (relative) read counts) detected in blanks. Answer either numeric value with the unit specified under the terms min_reads_cutoff_unit, "noise detected in blanks", or "other: FREE TEXT DESCRIPTION". | R | Recommended |  | string | select from min_reeds_cutoff_unit |  |  | 5.0 |  | New
projectMetadata | Bioinformatics | min_reads_cutoff_unit | The unit of the min_reads_cutoff. i.e. reads, % relative read abundance | R | Recommended |  | controlled vocabulary |  |  | reads ¦ % ¦ other: | % |  | New
projectMetadata | Bioinformatics | min_reads_tool | Software and the version to remove reads below minimum read threshold | R | Recommended |  | string |  |  |  | DADA2 1.26 |  | New
projectMetadata | Bioinformatics | otu_clust_cutoff | The percentage similarity threshold used for OTU/ASV clustering. For ASV clustering, the cutoff is typically 100% similarity. Unit = % | R | Recommended |  | float | % |  |  | 97.0 |  | MIxS ¦ DNA-derived data extension |  | field_name ¦ description
projectMetadata | Bioinformatics | otu_clust_tool | Software and the version used for OTU/ASV clustering | R | Recommended |  | string |  |  |  | q2-dada2 2019.1.0 |  | New
projectMetadata | Bioinformatics | otu_db | List of reference database(s) (i.e. sequences not generated as part of the current study) along with version number, that were used to assign taxonomy to OTUs or ASVs. If custom database was used, enter 'custom' here, and provide the information of the database under the term otu_db_custom | HR | Highly recommended |  | string |  |  |  | NCBI GenBank Release 260.0 ¦ custom |  | MIxS ¦ DNA-derived data extension |  | description
projectMetadata | Bioinformatics | otu_db_custom | Description of custom reference database(s) (i.e. coverage of taxa, region) if applied to assign taxonomy to OTUs or ASVs | O | Optional |  | string |  |  |  | Unpublished custom database, containing COI sequences of 209 fish species collected from Western Australia (study area) |  | New
projectMetadata | Bioinformatics | otu_final_description | A description of the data curation and processing steps applied to the final OTU/ASV table | R | Recommended |  | string |  |  |  | Removal of ASVs that were assigned to non-targeted species. Removal of control samples. |  | New
projectMetadata | Bioinformatics | otu_raw_description | A description of the data curation and processing steps applied to the raw OTU/ASV table | R | Recommended |  | string |  |  |  | OTU clustering with 97% similarity |  | New
projectMetadata | Bioinformatics | otu_seq_comp_appr | Alignment tool/software used for taxonomic assignment | HR | Highly recommended |  | string |  |  |  | blastn;2.6.0+ |  | MIxS ¦ DNA-derived data extension |  | description
projectMetadata | Bioinformatics | screen_contam_method | How were contaminations screened and applied in data curation/analyses/interpretation? | HR | Highly recommended | if screen_contam_0_1 is 1 | string |  |  |  | Taxa detected in negative controls were checked, and the read counts were applied as a cutoff to call presence. |  | New
projectMetadata | Bioinformatics | screen_geograph_method | How were species distribution information screened and applied? | R | Recommended | if screen_geograph_0_1 is 1 | string |  |  |  | Distribution information was checked using FishBase, and species that did not reside in the study area were removed. |  | New
projectMetadata | Bioinformatics | screen_nontarget_method | How were non-target species screened and applied? | R | Recommended | if screen_nontarget_0_1 is 1 | string |  |  |  | Non-targeted species (i.e. domestic animals, humans and non-marine species) were removed from the curated OTU table and downstream data analyses. OTUs that were assigned to species in WoRMS were kept in the curated OTU table. |  | New
projectMetadata | Bioinformatics | screen_other | Description of other screening criteria and approaches | R | Recommended |  | string | [5 empty] | New
projectMetadata | Bioinformatics | sop_bioinformatics | Standard operating procedures, references, link to scripts, that were used in quality filtering, assembly and/or annotation of genomes, metagenomes or environmental sequences | R | Recommended |  | string |  |  |  | https://github.com/mahsa-mousavi/eDNAFlow |  | MIxS ¦ DNA-derived data extension |  | field_name ¦ description
projectMetadata | Bioinformatics | tax_assign_cat | High-level category of taxonomic assignment approach. Examples using sequence similarity: BLAST/MegaBLAST, USEARCH/VSEARCH. Examples using sequence composition: naive Bayes classifier, CLARK, Kraken. Examples using phylogeny: SEPP, EPA-ng, pplacer. Examples using probabilistic: PROTAX, TIPP. | HR | Highly recommended |  | controlled vocabulary |  |  | sequence similarity ¦ sequence composition ¦ phylogeny ¦ probabilistic ¦ other: | sequence similarity |  | New
projectMetadata | Bioinformatics | tax_class_collapse | How was the taxa collapsed to higher taxonomic levels? i.e. lowest common ancestor | R | Recommended |  | string |  |  |  | Taxonomic levels were dropped to the lowest common ancestor (LCA) with the similarity thresholds of 99%, and also based on % identify thresholds (>98% species, 95-98% genus, 90-95% family). |  | New
projectMetadata | Bioinformatics | tax_class_id_cutoff | Minimum percent identity for taxonomic assignment. Unit = % | R | Recommended |  | float | % |  |  | 90.0 |  | New
projectMetadata | Bioinformatics | tax_class_other | Additional information on parameters and cutoffs used for taxonomic assignment, that have not been shared in the given record. | R | Recommended |  | string | [5 empty] | MIxS ¦ DNA-derived data extension |  | description
projectMetadata | Bioinformatics | tax_class_query_cutoff | Minimum percent query coverage for taxonomic assignment. Unit = % | R | Recommended |  | float | % |  |  | 98.0 |  | New
projectMetadata | Bioinformatics | trim_method | Method for trimming primer and/or adapter sequences, including version and parameters | R | Recommended |  | string |  |  |  | cutadapt v4.9 |  | NOAA |  | field_name
projectMetadata | Bioinformatics | trim_param | Parameters and cutoffs used to trim if not default | R | Recommended |  | string |  |  |  | ADAPTER;min_overlap=5 |  | New
taxaRaw ¦ taxaFinal | OTU/ASV | accession_id | Accession ID of the best matching sequence from a reference database | R | Recommended |  | string |  |  |  | MG002616.1 |  | New
taxaRaw ¦ taxaFinal | OTU/ASV | accession_id_ref_db | Reference database (i.e. sequences not generated as part of the current study) of the best matching sequence (accesssion_id) | R | Recommended |  | string |  |  |  | NCBI |  | MIxS ¦ DNA-derived data extension |  | field_name ¦ description
taxaRaw ¦ taxaFinal | OTU/ASV | class | The full scientific name of the class | R | Recommended |  | string |  |  |  | Actinopterygii |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | confidence_score | Confidence score for the taxonomic assignment, such as from bootstrapping. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 0.996-0.998) | R | Recommended |  | float |  |  |  | 0.997 |  | New
taxaRaw ¦ taxaFinal | OTU/ASV | dna_sequence | The DNA sequence | M | Mandatory | If assay_type = metabarcoding | string |  |  |  | GGTGTTTAAATTTCGGTCTGTAAGAAGTATTGTAATCCCAGCCGCTAGGACTGGAAGGGAAAGAAGGAGAAGGACAGCTGTAATTAGCACGGCTCAGACAAACAAGGGTGTCTGGTATTGGGAAATAGCTGGGGGTTTCATGTTAATAATTGTGGTAATAAAATTGATAGCACCAAGGATTGAAGAGACCCCGGCTAGGTGGAGAGAA |  | DNA-derived data extension
taxaRaw ¦ taxaFinal | OTU/ASV | family | The full scientific name of the family | R | Recommended |  | string |  |  |  | Lutjanidae |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | genus | The full scientific name of the genus | R | Recommended |  | string |  |  |  | Lutjanus |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | identificationRemarks | Comments or notes about the taxonomic assignment. | O | Optional |  | string |  |  |  | Taxonomic assignment was performed at the most precise taxonomic level common to the hypothetical taxa. |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | kingdom | The full scientific name of the kingdom | R | Recommended |  | string |  |  |  | Animalia |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | order | The full scientific name of the order | R | Recommended |  | string |  |  |  | Perciformes |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | percent_match | The percentage of sequence identity between a query sequence obtained from eDNA and a reference sequence in a database. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 98.7-99.2). | R | Recommended |  | float | % |  |  | 99.8 |  | New
taxaRaw ¦ taxaFinal | OTU/ASV | percent_query_cover | The percentage coverage of the query sequence that aligns with a reference sequence in a database. If multiple species were assigned to one ASV/OTU, a range can be entered separated by "-" (e.g., 98.7-99.2). Unit = % | R | Recommended |  | float | % |  |  | 100.0 |  | New
taxaRaw ¦ taxaFinal | OTU/ASV | phylum | The full scientific name of the phylum or division | R | Recommended |  | string |  |  |  | Chordata |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | scientificName | The full scientific name of the genus and species | HR | Highly recommended |  | string |  |  |  | Lutjanus erythropterus |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | scientificNameAuthorship | The authorship information for the scientificName | R | Recommended |  | string |  |  |  | Bloch, 1790 |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | seq_id | Query sequence ID. Must be unique within the dataset | M | Mandatory | If assay_type = metabarcoding | string |  |  |  | ASV1 |  | New
taxaRaw ¦ taxaFinal | OTU/ASV | specificEpithet | The name of the first or species epithet of the scientificName. | R | Recommended |  | string |  |  |  | erythropterus |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | taxonID | An identifier for the assigned taxon (or taxa in the case of multiple hits). May be a global unique identifier or an identifier specific to the data set. | HR | Highly recommended |  | string |  |  |  | 218797.0 |  | DwC |  | description
taxaRaw ¦ taxaFinal | OTU/ASV | taxonID_db | The taxonomy database corresponding to taxonID. | HR | Highly recommended |  | string |  |  |  | NCBI |  | New
taxaRaw ¦ taxaFinal | OTU/ASV | taxonRank | The taxonomic rank of the most specific name in the scientificName | HR | Highly recommended |  | controlled vocabulary |  |  | kingdom ¦ phylum ¦ class ¦ order ¦ family ¦ genus ¦ species ¦ other: | genus |  | DwC
taxaRaw ¦ taxaFinal | OTU/ASV | verbatimIdentification | A string representing the taxonomic identification as it appeared in the original record (i.e. the database used such as NCBI). This could be the identification | O | Optional |  | string |  |  |  | Eukaryota; Metazoa; Chordata; Actinopterygii; Perciformes; Lutjanidae; Lutjanus; Lutjanus_erythropterus |  | DwC |  | description
sampleMetadata | Environment | alt | Heights of objects such as airplanes, space shuttles, rockets, atmospheric balloons and heights of places such as atmospheric layers and clouds. It is used to measure the height of an object which is above the earth's surface. In this context, the altitude measurement is the vertical distance between the earth's surface above sea level and the sampled position in the air. Unit = meter | O | Optional |  | float | meter |  |  | 100.0 | Air ¦ HostAssociated | MIxS
sampleMetadata | Environment | chlorophyll | Concentration of chlorophyll. Unit = mg/m3 | O | Optional |  | float | mg/m3 |  |  | 5.0 | Water ¦ Soil ¦ Sediment ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | diss_inorg_carb | Dissolved inorganic carbon concentration in the sample, typically measured after filtering the sample using a 0.45 micrometre filter | O | Optional |  | float |  |  |  | 2059.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | diss_inorg_carb_unit | The unit of diss_inorg_carb | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | mmol/kg | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | diss_inorg_nitro | Concentration of dissolved inorganic nitrogen | O | Optional |  | float |  |  |  | 761.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | diss_inorg_nitro_unit | The unit of diss_inorg_nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | diss_org_carb | Concentration of dissolved organic carbon in the sample, liquid portion of the sample, or aqueous phase of the fluid | O | Optional |  | float |  |  |  | 197.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | diss_org_carb_unit | The unit of diss_org_carb | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | diss_org_nitro | Dissolved organic nitrogen concentration measured as; total dissolved nitrogen - NH4 - NO3 - NO2 | O | Optional |  | float |  |  |  | 0.05 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | diss_org_nitro_unit | The unit of diss_org_nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | diss_oxygen | Concentration of dissolved oxygen | O | Optional |  | float |  |  |  | 175.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | diss_oxygen_unit | The unit of diss_oxygen | O | Optional |  | controlled vocabulary |  |  | mg/L ¦ µg/L ¦ µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mL/L ¦ mmol/kg ¦ parts per million ¦ other: | mmol/kg | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | elev | Elevation of the sampling site is its height above a fixed reference point, most commonly the mean sea level. Elevation is mainly used when referring to points on the earth's surface, while altitude is used for points above the surface, such as an aircraft in flight or a spacecraft in orbit. i.e. 0m for seawater sample. Unit = meter | O | Optional |  | float | meter |  |  | 100.0 | ALL | MIxS |  | description
sampleMetadata | Environment | host_height | The height of subject | O | Optional |  | float |  |  |  | 135.0 | HostAssociated ¦ SymbiontAssociated | MIxS
sampleMetadata | Environment | host_height_unit | The unit of host_height | O | Optional |  | controlled vocabulary |  |  | mm ¦ cm ¦ m ¦ other: | cm | HostAssociated ¦ SymbiontAssociated | New
sampleMetadata | Environment | host_length | The length of subject | O | Optional |  | float |  |  |  | 54.0 | HostAssociated ¦ SymbiontAssociated | MIxS
sampleMetadata | Environment | host_length_unit | The unit of host_length | O | Optional |  | controlled vocabulary |  |  | mm ¦ cm ¦ m ¦ other: | mm | HostAssociated ¦ SymbiontAssociated | New
sampleMetadata | Environment | host_life_stage | Description of life stage of host. Select from UBERON's life cycle class (http://purl.obolibrary.org/obo/UBERON_0000104) | O | Optional |  | string |  | termLabel [termID] |  | juvenile stage [UBERON_0034919] | HostAssociated ¦ SymbiontAssociated | MIxS |  | description ¦ field_type
sampleMetadata | Environment | host_species | The scientific name of host species. i.e. predator species where a gut content sample was dissected from. | O | Optional |  | string |  |  |  | Lutjanus erythropterus | HostAssociated ¦ SymbiontAssociated | MIxS |  | field_name ¦ description
sampleMetadata | Environment | host_tot_mass | Total mass of the host at collection, the unit depends on host. | O | Optional |  | float |  |  |  | 58.0 | HostAssociated ¦ SymbiontAssociated | MIxS
sampleMetadata | Environment | host_tot_mass_unit | The unit of host_tot_mass | O | Optional |  | controlled vocabulary |  |  | mg ¦ g ¦ kg ¦ other: | g | HostAssociated ¦ SymbiontAssociated | New
sampleMetadata | Environment | humidity | Amount of water vapour in the air, at the time of sampling relative to the maximum amount of water vapor the air can hold at a given temperature and pressure. Also known as relative humidity. Unit = % | O | Optional |  | float | % |  |  | 61.0 | Air | MIxS |  | description
sampleMetadata | Environment | light_intensity | Measurement of light intensity. Unit = lux | O | Optional |  | float | lux |  |  | 0.3 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm ¦ SymbiontAssociated | MIxS
sampleMetadata | Environment | maximumDepthInMeters | The greater depth of a range of depth (vertical distance below the local surface) at which a sample was collected. For sediment or soil samples depth is measured from sediment or soil surface, respectively. If there is only one single point of depth (no range), the values in minimumDepthInMeters and maximumDepthInMeters are the same. Unit = meter | R | Recommended |  | float | meter |  |  | 0.2 | Water ¦ Soil ¦ Sediment ¦ HostAssociated ¦ MicrobialMatBiofilm ¦ SymbiontAssociated | DwC |  | description
sampleMetadata | Environment | minimumDepthInMeters | The lesser depth of a range of depth (vertical distance below the local surface) at which a sample was collected. For sediment or soil samples depth is measured from sediment or soil surface, respectively. If there is only one single point of depth (no range), the values in minimumDepthInMeters and maximumDepthInMeters are the same. Unit = meter | R | Recommended |  | float | meter |  |  | 0.2 | Water ¦ Soil ¦ Sediment ¦ HostAssociated ¦ MicrobialMatBiofilm ¦ SymbiontAssociated | DwC |  | description
sampleMetadata | Environment | nitrate | Concentration of nitrate in the sample | O | Optional |  | float |  |  |  | 65.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | nitrate_unit | The unit of nitrate | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | nitrite | Concentration of nitrite in the sample | O | Optional |  | float |  |  |  | 0.5 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | nitrite_unit | The unit of nitrite | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | nitro | Concentration of nitrogen (total) | O | Optional |  | float |  |  |  | 4.2 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | nitro_unit | The unit of nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | org_carb | Concentration of organic carbon | O | Optional |  | float |  |  |  | 1.5 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | org_carb_unit | The unit of org_carb | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µg/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | org_matter | Concentration of organic matter | O | Optional |  | float |  |  |  | 1.75 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | org_matter_unit | The unit of org_matter | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | other:mg/m3 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | org_nitro | Concentration of organic nitrogen | O | Optional |  | float |  |  |  | 4.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | org_nitro_unit | The unit of org_nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | part_org_carb | Concentration of particulate organic carbon | O | Optional |  | float |  |  |  | 1.92 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | part_org_carb_unit | The unit of part_org_carb | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | part_org_nitro | Concentration of particulate organic nitrogen | O | Optional |  | float |  |  |  | 0.3 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | part_org_nitro_unit | The unit of part_org_nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | ph | Ph measurement of the sample, or liquid portion of sample, or aqueous phase of the fluid. Unit = no unit | O | Optional |  | float | no unit |  |  | 7.2 | Water ¦ Soil ¦ Sediment ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | ph_meth | Reference or method used in determining pH | O | Optional |  | string |  |  |  | https://www.epa.gov/sites/default/files/2015-12/documents/9040c.pdf | Water ¦ Soil ¦ Sediment ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | salinity | The total concentration of all dissolved salts in a liquid or solid sample. While salinity can be measured by a complete chemical analysis, this method is difficult and time consuming. More often, it is instead derived from the conductivity measurement. This is known as practical salinity. These derivations compare the specific conductance of the sample to a salinity standard such as seawater. Unit = practical salinity unit (psu) | O | Optional |  | float | practical salinity unit (psu) |  |  | 25.0 | Water ¦ Sediment ¦ HostAssociated ¦ MicrobialMatBiofilm ¦ SymbiontAssociated | MIxS
sampleMetadata | Environment | samp_weather | The weather on the sampling day | O | Optional |  | string |  |  |  | foggy | ALL | MIxS
sampleMetadata | Environment | solar_irradiance | Description and/or the amount of solar energy that arrives at a specific area of a surface at the time of sampling. i.e. fully exposed, partially shaded, cloud cover 20%, 1.36kW/m2/day | O | Optional |  | string |  |  |  | 1.36 kw/m2/day | Water ¦ Soil ¦ Sediment ¦ Air | MIxS |  | description
sampleMetadata | Environment | suspend_part_matter | Concentration of suspended particulate matter. Unit = mg/L | O | Optional |  | float | mg/L |  |  | 0.5 | Water | MIxS
sampleMetadata | Environment | temp | Temperature of the sample at the time of sampling in degree Celsius | O | Optional |  | float | degree Celsius |  |  | 25.0 | ALL | MIxS
sampleMetadata | Environment | tidal_stage | Stage of tide | O | Optional |  | string |  |  |  | high tide | Water ¦ Sediment | MIxS
sampleMetadata | Environment | tot_carb | Total carbon content | O | Optional |  | float |  |  |  | 1.5 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_carb_unit | The unit of tot_carb | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µg/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | tot_depth_water_col | Measurement of total depth of water column. For example, if a sea surface water sample was collected at a sampling site where the water depth was 15m, enter 15 here and 0 under the terms minimumDepthInMeters and maximumDepthInMeters. Unit = meter | R | Recommended |  | float | meter |  |  | 15.0 | Water ¦ Sediment ¦ HostAssociated ¦ MicrobialMatBiofilm ¦ SymbiontAssociated | MIxS |  | description
sampleMetadata | Environment | tot_diss_nitro | Total dissolved nitrogen concentration, reported as nitrogen, measured by: total dissolved nitrogen = NH4 + NO3NO2 + dissolved organic nitrogen | O | Optional |  | float |  |  |  | 40.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_diss_nitro_unit | The unit of tot_diss_nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µg/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | tot_inorg_nitro | Total inorganic nitrogen content | O | Optional |  | float |  |  |  | 40.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_inorg_nitro_unit | The unit of tot_inorg_nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µg/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | tot_nitro | Total nitrogen concentration of water samples, calculated by: total nitrogen = total dissolved nitrogen + particulate nitrogen. Can also be measured without filtering, reported as nitrogen | O | Optional |  | float |  |  |  | 50.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_nitro_cont_meth | Reference or method used in determining the total nitrogen | O | Optional |  | string |  |  |  | https://currentprotocols.onlinelibrary.wiley.com/doi/abs/10.1002/0471142913.fab0102s00 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_nitro_content | Total nitrogen content of the sample | O | Optional |  | float |  |  |  | 35.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_nitro_content_unit | The unit of tot_nitro_content | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | other:mg N/kg of soil | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | tot_nitro_unit | The unit of tot_nitro | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | tot_org_c_meth | Reference or method used in determining total organic carbon | O | Optional |  | string |  |  |  | https://www.epa.gov/sites/default/files/2015-12/documents/9060a.pdf | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_org_carb | Total organic carbon content | O | Optional |  | float |  |  |  | 0.02 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_org_carb_unit | The unit of tot_org_carb | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | other:gram Carbon per kg sample material | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | tot_part_carb | Total particulate carbon content | O | Optional |  | float |  |  |  | 35.0 | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | tot_part_carb_unit | The unit of tot_part_carb | O | Optional |  | controlled vocabulary |  |  | µM ¦ mol/m3 ¦ mmol/m3 ¦ µmol/m3 ¦ mol/L ¦ mmol/L ¦ µmol/L ¦ mg/L ¦ µg/L ¦ µmol/kg ¦ mmol/kg ¦ parts per million ¦ other: | µmol/L | Water ¦ Soil ¦ Sediment ¦ Air ¦ MicrobialMatBiofilm | New
sampleMetadata | Environment | turbidity | Measure of the amount of cloudiness or haziness in water caused by individual particles. Unit = nephelometric turbidity unit (ntu) | O | Optional |  | float | nephelometric turbidity unit (ntu) |  |  | 0.3 | Water ¦ Sediment ¦ MicrobialMatBiofilm | MIxS
sampleMetadata | Environment | water_current | Measurement of magnitude and direction of flow within a fluid. Unit = m/s | O | Optional |  | float | m/s |  |  | 10.0 | Water ¦ Sediment | MIxS
sampleMetadata | Environment | wind_direction | Wind direction (the direction from which a wind originates) at the time of sampling | O | Optional |  | string |  |  |  | NW | Water ¦ Soil ¦ Sediment ¦ Air | MIxS |  | description
sampleMetadata | Environment | wind_speed | Speed of wind measured at the time of sampling. Unit = m/s | O | Optional |  | float | m/s |  |  | 5.14 | Water ¦ Soil ¦ Sediment ¦ Air | MIxS